## RDL browser
RDL2 browser to spreadsheet tool version 78 |  |  |  | Endpoint: http://data.15926.org/rdl/
Contact: onno.paap@gmail.com |  |  | Action | ILLUMINATOR | http://data.15926.org/rdl/RDS16207596
Search: | ILLUMINATOR | INSTRUMENT CONNECTION
Note: first set coloring on in Settings
Coloring (containing this string will give this color)
ClassOfFunctionalObject
ClassOfInanimatePhysicalObject
Namespace replacer (definition containing this string replaces the namespace)
| API | API:
| ASME | ASME:
| ASTM | ASTM:
| DIN | DIN:
| EN | EN:
| ISO | ISO:
| NORSOK | NOR:
| NPD | NOR:
| NS | NOR:
| ROSEMOUNT | ROS:
| SAE | SAE:
| SIEMENS | SIE:
| SKOTSELV | SKOT:
| TWR | TWR:
Go
Settings
Missing subClassOf
Orphans
List Entities
Doubles
Orphans
Clear Cache (use on DB change)
Orphans
Missing Super
List Subclasses
Error in Definitions
Orphans
Compare RDL2 with views folder
Orphans
RDL Deprec Super
Orphans
GO
Knop 20

## Settings (hidden)
Setting name | Select name | OnKey | Value | Status | RDLType
Endpoint | RDL2 (15926.org) |  | http://data.15926.org/rdl/ | Current |  | Note: end address always with a slash (/)
Endpoint | PCA RDL |  | http://data.posccaesar.org/rdl/ |  |  | Note: end address always with a slash (/)
Endpoint | PCA Staging |  | http://staging.data.posccaesar.org/rdl/ |  |  | Note: end address always with a slash (/)
Endpoint | PCA SVRDL |  | http://svrdl.community.data.posccaesar.org/rdl/ |  |  | Note: end address always with a slash (/)
Endpoint | PCA P4 |  | http://posccaesar.org/p4/sparql |  |  | Note: end address always with a slash (/)
Endpoint | PCA P12 |  | http://sti.data.posccaesar.org/rdl/ |  |  | Note: end address always with a slash (/)
Endpoint | Localhost |  | http://localhost:8890/sparql/ |  |  | Note: end address always with a slash (/)
gBaseNamespace |  | http://data.posccaesar.org/rdl/ | http://data.posccaesar.org/rdl/ |  | RDS
gBaseNamespace |  | http://staging.data.posccaesar.org/rdl/ | http://data.posccaesar.org/rdl/ |  | RDS2
gBaseNamespace |  | http://data.15926.org/rdl/ | http://data.15926.org/rdl/ |  | RDL2
gBaseNamespace |  | http://svrdl.community.data.posccaesar.org/rdl/ | http://svrdl.community.data.posccaesar.org/rdl/ |  | RDL2
gBaseNamespace |  | http://posccaesar.org/p4/sparql | http://posccaesar.org/rdl/ |  | RDS
gBaseNamespace |  | http://sti.data.posccaesar.org/rdl/ | http://sti.data.posccaesar.org/rdl/ |  | RDL2
gBaseNamespace |  | http://localhost:8890/sparql/ | http://data.15926.org/rdl/ |  | RDL2
gKeepSettings |  |  | T
gShowDeprecated |  |  | F
gColoring |  |  | T
gNamespaceReplacing |  |  | F
gHyperlinkReplacing |  |  | F
Endpoint | aisi |  | http://data.15926.org/aisi/ |  |  | Note: end address always with a slash (/)
Endpoint | ansi |  | http://data.15926.org/ansi/ |  |  | Note: end address always with a slash (/)
Endpoint | api |  | http://data.15926.org/api/ |  |  | Note: end address always with a slash (/)
Endpoint | all |  | http://data.15926.org/all/ |  |  | Note: end address always with a slash (/)
Endpoint | asme |  | http://data.15926.org/asme/ |  |  | Note: end address always with a slash (/)
Endpoint | astm |  | http://data.15926.org/astm/ |  |  | Note: end address always with a slash (/)
Endpoint | atex |  | http://data.15926.org/atex/ |  |  | Note: end address always with a slash (/)
Endpoint | bs |  | http://data.15926.org/bs/ |  |  | Note: end address always with a slash (/)
Endpoint | cfihos |  | http://data.15926.org/cfihos/ |  |  | Note: end address always with a slash (/)
Endpoint | din |  | http://data.15926.org/din/ |  |  | Note: end address always with a slash (/)
Endpoint | dm |  | http://data.15926.org/dm/ |  |  | Note: end address always with a slash (/)
Endpoint | dnv |  | http://data.15926.org/dnv/ |  |  | Note: end address always with a slash (/)
Endpoint | edm |  | http://data.15926.org/edm/ |  |  | Note: end address always with a slash (/)
Endpoint | en |  | http://data.15926.org/en/ |  |  | Note: end address always with a slash (/)
Endpoint | eu |  | http://data.15926.org/eu/ |  |  | Note: end address always with a slash (/)
Endpoint | iec |  | http://data.15926.org/iec/ |  |  | Note: end address always with a slash (/)
Endpoint | ieee |  | http://data.15926.org/ieee/ |  |  | Note: end address always with a slash (/)
Endpoint | iso |  | http://data.15926.org/iso/ |  |  | Note: end address always with a slash (/)
Endpoint | lci |  | http://data.15926.org/lci/ |  |  | Note: end address always with a slash (/)
Endpoint | mss |  | http://data.15926.org/mss/ |  |  | Note: end address always with a slash (/)
Endpoint | nace |  | http://data.15926.org/nace/ |  |  | Note: end address always with a slash (/)
Endpoint | nec |  | http://data.15926.org/nec/ |  |  | Note: end address always with a slash (/)
Endpoint | nema |  | http://data.15926.org/nema/ |  |  | Note: end address always with a slash (/)
Endpoint | nfpa |  | http://data.15926.org/nfpa/ |  |  | Note: end address always with a slash (/)
Endpoint | nor |  | http://data.15926.org/nor/ |  |  | Note: end address always with a slash (/)
Endpoint | rdl |  | http://data.15926.org/rdl/ |  |  | Note: end address always with a slash (/)
Endpoint | sae |  | http://data.15926.org/sae/ |  |  | Note: end address always with a slash (/)
Endpoint | sie |  | http://data.15926.org/sie/ |  |  | Note: end address always with a slash (/)
Endpoint | tema |  | http://data.15926.org/tema/ |  |  | Note: end address always with a slash (/)
Endpoint | twr |  | http://data.15926.org/twr/ |  |  | Note: end address always with a slash (/)
Endpoint | uns |  | http://data.15926.org/uns/ |  |  | Note: end address always with a slash (/)
Endpoint | wits |  | http://data.15926.org/wits/ |  |  | Note: end address always with a slash (/)
gBaseNamespace |  | http://data.15926.org/aisi/ | http://data.15926.org/aisi/ |  | RDL2
gBaseNamespace |  | http://data.15926.org/ansi/ | http://data.15926.org/ansi/ |  | RDL2
gBaseNamespace |  | http://data.15926.org/api/ | http://data.15926.org/api/ |  | RDL2
gBaseNamespace |  | http://data.15926.org/asme/ | http://data.15926.org/asme/ |  | RDL2
gBaseNamespace |  | http://data.15926.org/all/ | http://data.15926.org/all/ |  | RDL2
gBaseNamespace |  | http://data.15926.org/astm/ | http://data.15926.org/astm/ |  | RDL2
gBaseNamespace |  | http://data.15926.org/atex/ | http://data.15926.org/atex/ |  | RDL2
gBaseNamespace |  | http://data.15926.org/bs/ | http://data.15926.org/bs/ |  | RDL2
gBaseNamespace |  | http://data.15926.org/cfihos/ | http://data.15926.org/cfihos/ |  | RDL2
gBaseNamespace |  | http://data.15926.org/din/ | http://data.15926.org/din/ |  | RDL2
gBaseNamespace |  | http://data.15926.org/dm/ | http://data.15926.org/dm/ |  | RDL2
gBaseNamespace |  | http://data.15926.org/dnv/ | http://data.15926.org/dnv/ |  | RDL2
gBaseNamespace |  | http://data.15926.org/edm/ | http://data.15926.org/edm/ |  | RDL2
gBaseNamespace |  | http://data.15926.org/en/ | http://data.15926.org/en/ |  | RDL2
gBaseNamespace |  | http://data.15926.org/eu/ | http://data.15926.org/eu/ |  | RDL2
gBaseNamespace |  | http://data.15926.org/iec/ | http://data.15926.org/iec/ |  | RDL2
gBaseNamespace |  | http://data.15926.org/ieee/ | http://data.15926.org/ieee/ |  | RDL2
gBaseNamespace |  | http://data.15926.org/iso/ | http://data.15926.org/iso/ |  | RDL2
gBaseNamespace |  | http://data.15926.org/lci/ | http://data.15926.org/lci/ |  | RDL2
gBaseNamespace |  | http://data.15926.org/mss/ | http://data.15926.org/mss/ |  | RDL2
gBaseNamespace |  | http://data.15926.org/nace/ | http://data.15926.org/nace/ |  | RDL2
gBaseNamespace |  | http://data.15926.org/nec/ | http://data.15926.org/nec/ |  | RDL2
gBaseNamespace |  | http://data.15926.org/nema/ | http://data.15926.org/nema/ |  | RDL2
gBaseNamespace |  | http://data.15926.org/nfpa/ | http://data.15926.org/nfpa/ |  | RDL2
gBaseNamespace |  | http://data.15926.org/nor/ | http://data.15926.org/nor/ |  | RDL2
gBaseNamespace |  | http://data.15926.org/rdl/ | http://data.15926.org/rdl/ |  | RDL2
gBaseNamespace |  | http://data.15926.org/sae/ | http://data.15926.org/sae/ |  | RDL2
gBaseNamespace |  | http://data.15926.org/sie/ | http://data.15926.org/sie/ |  | RDL2
gBaseNamespace |  | http://data.15926.org/tema/ | http://data.15926.org/tema/ |  | RDL2
gBaseNamespace |  | http://data.15926.org/twr/ | http://data.15926.org/twr/ |  | RDL2
gBaseNamespace |  | http://data.15926.org/uns/ | http://data.15926.org/uns/ |  | RDL2
gBaseNamespace |  | http://data.15926.org/wits/ | http://data.15926.org/wits/ |  | RDL2

## about
Version 78 changes | 2021-11-25 | Onno Paap
Repaired output like &amp;lt; in the skos:definition
Version 77 changes | 2021-05-18 | Onno Paap
Made workaround for weird Microsoft Windows update which invalidated the System.Xml library (got emails from people)
Version 76 changes | 2020-01-26 | Onno Paap
Added CFIHOS endpoint to search in
Version 75 changes | 2018-10-05 | Onno Paap
missing superclasses - and orphans- filter no deprecated classes
Version 74 changes | 2018-09-30 | Onno Paap
Repaired bug missing label
Version 73 changes | 2018-05-16 | Onno Paap
Repaired bug Deprecated Superclass
Version 71 changes | 2016-07-17 | Onno Paap
Aded report button for comparison of RDL2 with a subfolder called views filled with spreadsheets.
Version 69 changes | 2016-06-16 | Onno Paap
Added button: "errors in definitions" that lists all classes that have more or less "<" brackets than the number of super class relationships + 1. Where the part after the word "that " is ignored in the count of "<" brackets.
Version 68 changes | 2016-06-13 | Onno Paap
Updated endpoint of RDL2 sparql
Version 67 changes | 2016-05-22 | Onno Paap
Added button list subclasses from superclass
Version 65 changes | 2016-04-25 | Onno Paap
Added checkbox at action dialog "supress double child occurances" so that this built-in feature can be switched off
Version 64 changes | 2016-04-20 | Onno Paap
Made search case-insensitive and added endpoint "all"
Version 63 changes | 2016-09-28 | Onno Paap
Made entity list working on P4 endpoint (they changed the database version which was not accepting som sparql setting)
Version 62 changes | 2016-09-28 | Onno Paap
Applied show deprecated to searched result list
Version 61 changes | 2016-08-29 | Onno Paap
Added query from pcardl for ClassOfIndirectProperty
Version 60 changes | 2016-08-19 | Onno Paap
Repaired failing entity reports
Version 59 changes | 2016-08-19 | Onno Paap
Missing superclasses now queries whole federation of RDL2
Version 58 changes | 2016-08-16 | Onno Paap
Repaired missing output for entities and doubles in RDL2 endpoints other than rdl
Version 57 changes | 2016-08-13 | Onno Paap
Doubles report now skips classes that are deprecated
Version 56 changes | 2016-07-22 | Onno Paap
Made rowheight suitable for longer definitions to example DESIGN BASIS
Version 55 changes | 2016-07-19 | Onno Paap
Made rowheight suitable for longer definitions
Version 54 changes | 2016-07-03 | Onno Paap
Entity Type field changed to 6 merged cells.
Version 53 changes | 2016-06-23 | Onno Paap
added lci namespace
Version 52 changes | 2016-06-23 | Onno Paap
Added deprecated count to list entities
Version 51 changes | 2016-06-19 | Onno Paap
Updated namespaces of staging RDL
Version 50 changes | 2016-06-19 | Onno Paap
taxonomy view repaired missing entity type
Version 49 changes | 2016-06-14 | Onno Paap
Room for 12 superclasses
Version 48 changes | 2016-06-14 | Onno Paap
Repaired NOR:/RDS bug
Version 47 changes | 2016-06-14 | Onno Paap
Repaired endpoint bug
Version 46 changes | 2016-06-13 | Onno Paap
Updated endpoints
Version 45 changes | 2016-06-06 | Onno Paap
Completed Missing Superclasses report
Version 44 changes | 2016-05-20 | Onno Paap
Added Clear Cache button (use on any database changes)
Version 43 changes | 2016-05-19 | Onno Paap
Changed non-existing super classes to show as "no label"
Version 42 changes | 2016-05-02 | Onno Paap
bug fix
Version 41 changes | 2016-05-02 | Onno Paap
Added setting to show/not show deprecated items. If shown, they are stricken through
Version 40 changes | 2016-03-31 | Onno Paap
Added in doubles: two classes having the same label.
Version 39 changes | 2016-03-21 | Onno Paap
Made the query more robust, after the server hass been returning a 404 occasionally
Version 38 changes | 2016-03-03 | Onno Paap
Repaired bug entity type query on PCA endpoint
Version 37 changes | 2016-01-29 | Onno Paap
Showing deprecated class in taxonomy with label in strikethrough.
Version 36 changes | 2016-01-13 | Onno Paap
Added the 17 endpoints of http://data.15926.org/rdl
Version 35 changes | 2016-01-13 | Onno Paap
In taxonomy view, disregard all rdf:type that is not data model. So only show rdf:type that is dm:
Version 34 changes | 2016-01-13 | Onno Paap
Solved taxonomy levels regression bug
Version 33 changes | 2016-01-11 | Onno Paap
Enhanced the doubled query. First 4 columns are about the triple, the rest is info.
Repaired bug in entity type query.
Version 30 changes | 2016-01-03 | Onno Paap
Repaired entity type query for old PCA RDL. Repaired bug in entity type query where a class that has a superclass of the wanted type as well as of another type became the start point of a new taxonomy as well as part in the main taxonomy. (read that again)
Version 29 changes | 2016-01-02 | Onno Paap
Filtered entity filtered taxonomy to only show the filtered entity not subClassOf of another entity
Version 27 changes | 2016-01-01 | Onno Paap
few bugs repaired. Changed entity search into presenting taxonomies.
Version 26 changes | 2015-12-26 | Onno Paap
few bugs repaired.
Version 25 changes | 2015-12-26 | Onno Paap
Added Part 12 and localhost endpoints
Added button for selecting double labels and definitions.
Version 24 changes | 2015-12-14 | Onno Paap
Added button to list all distinct entity data types and their counts, and click to show.
Added a button to show all orphans that have a rdfs:label
Version 23 changes
Added endpoint posccaesar.org/p4/sparql
Version 22 changes
Added endpoint staging.data.posccaesar.org/rdl
Version 21 changes
Repaired bug where namespace replace was based upon definition instead of class label
Version 20 changes
Repaired bug where definition did not show up if hyperlink replace was on.
Version 19 changes (skip version 16-18)
Settings expanded with persist settings, namespace replacer and hyperlink replacer
Added namespace replacer which will replace the RDL: namespace of the ID with the namespace given in the list on the front page.
Added hyperlink replacer which will find terms between single quotes and look them up in the RDL, then add a hyperlink in the text if found. Anchor tag <a></a> used not &hyperlink() so looks ugly.
Version 15 changes
Changed browser page Action buttons to hyperlinks because buttons are not equally spaced between Excel versions (Office 2007 versus Office 365)
First row is empty. Move all up.
Make stop button for during query taxonomy query execution
Version 14 changes
Aligned buttons on browser page
Made color notification work. Note: switch it on first in settings. Default is off
Top align subclasses in taxonomy
Subclasses made to hyperlink in taxonomy
Subclasses made to increase column width in taxonomy
Made browser search go when hitting enter in search field
todo
Make setting for outputting to other result pages

## Results1
FunctionalObject |  | ILLUMINATOR | [5 empty] | rdl:RDS16207596 |  | An <ILLUMINATOR> is a <FunctionalObject> that has a capability of <<ILLUMINATING> | [5 empty] | dm:ClassOfFunctionalObject
ARTEFACT | ILLUMINATOR |  | FLASHLIGHT | [5 empty] | rdl:RDS2224479 |  | A <FLASHLIGHT> is an <ARTEFACT> and an <ILLUMINATOR> that is a small portable battery-powered electric lamp | [5 empty] | dm:ClassOfInanimatePhysicalObject
ILLUMINATOR |  |  | LAMP | [5 empty] | rdl:RDS959759 |  | A <LAMP> is an <ILLUMINATOR>, intended to produce an optical radiation, usually visible | [5 empty] | dm:ClassOfFunctionalObject
ARTEFACT | LAMP |  |  | BLENDED LAMP | [5 empty] | rdl:RDS960299 |  | A <BLENDED LAMP> is an <ARTEFACT> and a <LAMP> containing in the same bulb a mercury vapour lamp and an <INCANDESCENT LAMP> filament connected in series | [5 empty] | dm:ClassOfInanimatePhysicalObject
ARTEFACT | LAMP |  |  | DIFFUSER LAMP | [5 empty] | rdl:RDS5764191 |  | A <DIFFUSER LAMP> is an <ARTEFACT> and a <LAMP> used to alter the spatial distribution of radiation and depending essentially on the phenomenon of diffusion | [5 empty] | dm:ClassOfInanimatePhysicalObject
ARTEFACT | LAMP |  |  | DISCHARGE LAMP | [5 empty] | rdl:RDS960119 |  | A <DISCHARGE LAMP> is an <ARTEFACT> and a <LAMP> in which the light is produced, directly or indirectly, by an electric discharge through a gas, a metal vapour or mixture of several gases and vapours | [5 empty] | dm:ClassOfInanimatePhysicalObject
DISCHARGE LAMP |  |  |  |  | ARC LAMP | [5 empty] | rdl:RDS960839 |  | An <ARC LAMP> is a <DISCHARGE LAMP> in which the light is produced by an electric arc. | [5 empty] | dm:ClassOfInanimatePhysicalObject
ARC LAMP | [5 empty] | LONG-ARC LAMP | [5 empty] | rdl:RDS960929 |  | A <LONG-ARC LAMP> is an <ARC LAMP>, generally of very high pressure, in which the distance between the electrodes is large, the arc filling the discharge tube and being therefore stabilized. | [5 empty] | dm:ClassOfInanimatePhysicalObject
ARC LAMP | [5 empty] | SHORT-ARC LAMP | [5 empty] | rdl:RDS960884 |  | A <SHORT-ARC LAMP> is an <ARC LAMP>, generally of very high pressure, in which the distance between the electrodes is of the order of 1 to 10 millimetres. | [5 empty] | dm:ClassOfInanimatePhysicalObject
DISCHARGE LAMP |  |  |  |  | COLD CATHODE LAMP | [5 empty] | rdl:RDS960569 |  | A <COLD CATHODE LAMP> is a <DISCHARGE LAMP> in which the light is produced by the positive column of a glow discharge. | [5 empty] | dm:ClassOfInanimatePhysicalObject
DISCHARGE LAMP |  |  |  |  | COLD-START LAMP | [5 empty] | rdl:RDS960659 |  | A <COLD-START LAMP> is a <DISCHARGE LAMP> designed to start without preheating of the electrodes. | [5 empty] | dm:ClassOfInanimatePhysicalObject
DISCHARGE LAMP |  |  |  |  | FLUORESCENT TUBE | [5 empty] | rdl:RDS873854 |  | A <FLUORESCENT TUBE> is a <DISCHARGE LAMP> that is a mercury-vapour electric-discharge tube coated with fluorescent material. | [5 empty] | dm:ClassOfInanimatePhysicalObject
FLUORESCENT TUBE | [5 empty] | FLUORESCENT TUBE 11W | [5 empty] | rdl:RDS6730087 |  | A <FLUORESCENT TUBE 11W> is a <FLUORESCENT TUBE> that has a rated power consumption of 11W. | [5 empty] | dm:ClassOfInanimatePhysicalObject
FLUORESCENT TUBE | [5 empty] | FLUORESCENT TUBE 15W | [5 empty] | rdl:RDS6729325 |  | A <FLUORESCENT TUBE 15W> is a <FLUORESCENT TUBE> that has a rated power consumption of 15W. | [5 empty] | dm:ClassOfInanimatePhysicalObject
FLUORESCENT TUBE | [5 empty] | FLUORESCENT TUBE 16W | [5 empty] | rdl:RDS6729370 |  | A <FLUORESCENT TUBE 16W> is a <FLUORESCENT TUBE> that has a rated power consumption of 16W. | [5 empty] | dm:ClassOfInanimatePhysicalObject
FLUORESCENT TUBE | [5 empty] | FLUORESCENT TUBE 18W | [5 empty] | rdl:RDS6729415 |  | A <FLUORESCENT TUBE 18W> is a <FLUORESCENT TUBE> that has a rated power consumption of 18W. | [5 empty] | dm:ClassOfInanimatePhysicalObject
FLUORESCENT TUBE | [5 empty] | FLUORESCENT TUBE 36W | [5 empty] | rdl:RDS6729460 |  | A <FLUORESCENT TUBE 36W> is a <FLUORESCENT TUBE> that has a rated power consumption of 36W. | [5 empty] | dm:ClassOfInanimatePhysicalObject
FLUORESCENT TUBE | [5 empty] | FLUORESCENT TUBE 58W | [5 empty] | rdl:RDS6729505 |  | A <FLUORESCENT TUBE 58W> is a <FLUORESCENT TUBE> that has a rated power consumption of 58W. | [5 empty] | dm:ClassOfInanimatePhysicalObject
FLUORESCENT TUBE | [5 empty] | FLUORESCENT TUBE 7W | [5 empty] | rdl:RDS6729280 |  | A <FLUORESCENT TUBE 7W> is a <FLUORESCENT TUBE> that has a rated power consumption of 7W. | [5 empty] | dm:ClassOfInanimatePhysicalObject
DISCHARGE LAMP |  |  |  |  | HIGH INTENSITY DISCHARGE LAMP | [5 empty] | rdl:RDS960209 |  | A <HIGH INTENSITY DISCHARGE LAMP> is a <DISCHARGE LAMP> in which the light-producing arc is stabilized by wall temperature and the arc has a bulb wall loading in excess of 3 watts per square centimetre. | [5 empty] | dm:ClassOfInanimatePhysicalObject
HIGH INTENSITY DISCHARGE LAMP | [5 empty] | HIGH PRESSURE MERCURY LAMP | [5 empty] | rdl:RDS960254 |  | A <HIGH PRESSURE MERCURY LAMP> is a <HIGH INTENSITY DISCHARGE LAMP> in which the major portion of the light is produced, directly or indirectly, by radiation from mercury operating at a partial pressure in excess of 100 kilopascals. | [5 empty] | dm:ClassOfInanimatePhysicalObject
HIGH INTENSITY DISCHARGE LAMP | [5 empty] | HIGH PRESSURE SODIUM LAMP | [5 empty] | rdl:RDS960434 |  | A <HIGH PRESSURE SODIUM LAMP> is a <HIGH INTENSITY DISCHARGE LAMP> in which the light is produced mainly by radiation from sodium vapour operating at a partial pressure of the order of 10 kilopascals. | [5 empty] | dm:ClassOfInanimatePhysicalObject
HIGH INTENSITY DISCHARGE LAMP | [5 empty] | METAL HALIDE LAMP | [5 empty] | rdl:RDS960479 |  | A <METAL HALIDE LAMP> is a <HIGH INTENSITY DISCHARGE LAMP> in which the major portion of the light is produced from a mixture of a metallic vapour and the products of the dissociation of halides. | [5 empty] | dm:ClassOfInanimatePhysicalObject
DISCHARGE LAMP |  |  |  |  | HOT CATHODE LAMP | [5 empty] | rdl:RDS960614 |  | A <HOT CATHODE LAMP> is a <DISCHARGE LAMP> in which the light is produced by the positive column of an arc discharge. | [5 empty] | dm:ClassOfInanimatePhysicalObject
HOT CATHODE LAMP | [5 empty] | PREHEAT LAMP | [5 empty] | rdl:RDS960704 |  | A <PREHEAT LAMP> is a <HOR CATHODE LAMP> that requires preheating of the electrodes for starting. | [5 empty] | dm:ClassOfInanimatePhysicalObject
DISCHARGE LAMP |  |  |  |  | LOW PRESSURE MERCURY LAMP | [5 empty] | rdl:RDS960344 |  | A <LOW PRESSURE MERCURY LAMP> is a <DISCHARGE LAMP> of the mercury vapour type, with or without a coating of phosphors, in which during operation the partial pressure of the vapour does not exceed 100 pascal. | [5 empty] | dm:ClassOfInanimatePhysicalObject
DISCHARGE LAMP |  |  |  |  | LOW PRESSURE SODIUM LAMP | [5 empty] | rdl:RDS960389 |  | A <LOW PRESSURE SODIUM LAMP> is a <DISCHARGE LAMP> in which the light is produced by radiation from sodium vapour operating at a partial pressure of 0.1 to 1.5 pascal. | [5 empty] | dm:ClassOfInanimatePhysicalObject
DISCHARGE LAMP |  |  |  |  | NEGATIVE-GLOW LAMP | [5 empty] | rdl:RDS960164 |  | A <NEGATIVE-GLOW LAMP> is a <DISCHARGE LAMP> in which the light is produced directly or indirectly (by fluorescence) from the radiation of the negative glow, in the region in front of the cathode. | [5 empty] | dm:ClassOfInanimatePhysicalObject
ARTEFACT | LAMP |  |  | FLUORESCENT LAMP | [5 empty] | rdl:RDS960524 |  | A <FLUORESCENT LAMP> is an <ARTEFACT> and a <LAMP> that is electric and usually tubular, and that has a coating of fluorescent material on its inner surface and containing mercury vapor whose bombardment by electrons from the cathode provides ultraviolet light which causes the material to emit visible light | [5 empty] | dm:ClassOfInanimatePhysicalObject
FLUORESCENT LAMP |  |  |  |  | STARTERLESS FLUORESCENT LAMP | [5 empty] | rdl:RDS960794 |  | A <STARTERLESS FLUORESCENT LAMP> is a <FLUORESCENT LAMP> designed to operate with an auxiliary equipment which enables it, when switched on, to start rather quickly without the intervention of a starter | [5 empty] | dm:ClassOfInanimatePhysicalObject
STARTERLESS FLUORESCENT LAMP | [5 empty] | COLD STARTERLESS FLUORESCENT LAMP | [5 empty] | rdl:RDS338812340 |  | A <COLD STARTERLESS FLUORESCENT LAMP> is a <STARTERLESS FLUORESCENT LAMP> of cold start type. | [5 empty] | dm:ClassOfInanimatePhysicalObject
STARTERLESS FLUORESCENT LAMP | [5 empty] | WARM STARTERLESS FLUORESCENT LAMP | [5 empty] | rdl:RDS338812520 |  | A <WARM STARTERLESS FLUORESCENT LAMP> is a <STARTERLESS FLUORESCENT LAMP> of warm start type. | [5 empty] | dm:ClassOfInanimatePhysicalObject
FLUORESCENT LAMP |  |  |  |  | SWITCH-START FLUORESCENT LAMP | [5 empty] | rdl:RDS960749 |  | A <SWITCH-START FLUORESCENT LAMP> is a <FLUORESCENT LAMP> designed to operate in a circuit requiring a starter for the preheating of the electrodes | [5 empty] | dm:ClassOfInanimatePhysicalObject
ARTEFACT | LAMP |  |  | INCANDESCENT LAMP | [5 empty] | rdl:RDS959804 |  | An <INCANDESCENT LAMP> is an <ARTEFACT> and a <LAMP> in which electric light is produced by incandescence of a filament or strip of carbon | [5 empty] | dm:ClassOfInanimatePhysicalObject
INCANDESCENT LAMP |  |  |  |  | CARBON FILAMENT LAMP | [5 empty] | rdl:RDS959849 |  | A <CARBON FILAMENT LAMP> is an <INCANDESCENT LAMP> whose luminous element is filament of carbon. | [5 empty] | dm:ClassOfInanimatePhysicalObject
INCANDESCENT LAMP |  |  |  |  | GAS-FILLED LAMP | [5 empty] | rdl:RDS960029 |  | A <GAS-FILLED LAMP> is an <INCANDESCENT LAMP> in which the luminous element operates in a bulb filled with an inert gas. | [5 empty] | dm:ClassOfInanimatePhysicalObject
GAS-FILLED LAMP | [5 empty] | TUNGSTEN HALOGEN LAMP | [5 empty] | rdl:RDS960074 |  | A <TUNGSTEN HALOGEN LAMP> is a <GAS FILLED LAMP> containing halogens or halogen compounds, the filament being of tungsten. | [5 empty] | dm:ClassOfInanimatePhysicalObject
INCANDESCENT LAMP |  |  |  |  | METAL FILAMENT LAMP | [5 empty] | rdl:RDS959894 |  | A <METAL FILAMENT LAMP> is an <INCANDESCENT LAMP> whose luminous element is filament of metal. | [5 empty] | dm:ClassOfInanimatePhysicalObject
INCANDESCENT LAMP |  |  |  |  | PREFOCUS LAMP | [5 empty] | rdl:RDS960974 |  | A <PREFOCUS LAMP> is an <INCANDESCENT LAMP> in which, during manufacture, the luminous element is accurately adjusted to a specified position with respect to locating devices that form part of the cap. | [5 empty] | dm:ClassOfInanimatePhysicalObject
INCANDESCENT LAMP |  |  |  |  | REFLECTOR LAMP | [5 empty] | rdl:RDS961019 |  | A <REFLECTOR LAMP> is an <INCANDESCENT LAMP> or discharge lamp in which part of the bulb, of suitable shape, is coated with a reflecting material so as to control the light. | [5 empty] | dm:ClassOfInanimatePhysicalObject
REFLECTOR LAMP | [5 empty] | PRESSED GLASS LAMP | [5 empty] | rdl:RDS961064 |  | A <PRESSED GLASS LAMP> is a <REFLECTOR LAMP>, the bulb of which consists of two glass parts fused together, namely a metallized reflecting bowl and a patterned cover forming an optical system. | [5 empty] | dm:ClassOfInanimatePhysicalObject
PRESSED GLASS LAMP | [6 empty] | SEALED BEAM LAMP | [5 empty] | rdl:RDS961109 |  | A <SEALED BEAM LAMP> is a <PRESSED GLASS LAMP> in which light source, reflector, and lens form a sealed, self-contained unit. | [5 empty] | dm:ClassOfInanimatePhysicalObject
INCANDESCENT LAMP |  |  |  |  | TUNGSTEN LAMP | [5 empty] | rdl:RDS959939 |  | A <TUNGSTEN LAMP> is an <INCANDESCENT LAMP> whose luminous element is a filament of tungsten. | [5 empty] | dm:ClassOfInanimatePhysicalObject
INCANDESCENT LAMP |  |  |  |  | VACUUM LAMP | [5 empty] | rdl:RDS959984 |  | A <VACUUM LAMP> is an <INCANDESCENT LAMP> in which the luminous element operates in an evacuated bulb. | [5 empty] | dm:ClassOfInanimatePhysicalObject
ARTEFACT | LAMP |  |  | INDICATOR LAMP | [5 empty] | rdl:RDS5765415 |  | An <INDICATOR LAMP> is an <ARTEFACT> and a <LAMP> that is a luminous signal indicating operating conditions | [5 empty] | dm:ClassOfInanimatePhysicalObject
ARTEFACT | LAMP |  |  | INFRARED LAMP | [5 empty] | rdl:RDS961154 |  | An <INFRARED LAMP> is an <ARTEFACT> and a <LAMP> that radiates especially strongly in the infrared, the visible radiation produced, if any, not being of direct interest | [5 empty] | dm:ClassOfInanimatePhysicalObject
ARTEFACT | LAMP |  |  | LANTERN LAMP | [5 empty] | rdl:RDS5765460 |  | A <LANTERN LAMP> is an <ARTEFACT> and a <LAMP> specially made for warning and information in the sea and air traffic | [5 empty] | dm:ClassOfInanimatePhysicalObject
ARTEFACT | LAMP |  |  | LIGHT BULB | [5 empty] | rdl:RDS644129 |  | A <LIGHT BULB> is an <ARTEFACT> and a <LAMP> that is the glass bulb-shaped container of the incandescent filament used for producing electric light | [5 empty] | dm:ClassOfInanimatePhysicalObject
ARTEFACT | LAMP |  |  | SIGNAL LAMP | [5 empty] | rdl:RDS5765325 |  | A <SIGNAL LAMP> is an <ARTEFACT> and a <LAMP> that is a means of illuminating a signal aspect, such as an electric, an oil, or a gas fuelled lamp | [5 empty] | dm:ClassOfInanimatePhysicalObject
ARTEFACT | LAMP |  |  | ULTRAVIOLET LAMP | [5 empty] | rdl:RDS961199 |  | An <ULTRAVIOLET LAMP> is an <ARTEFACT> and a <LAMP> that radiates especially strongly in the ultraviolet, the visible radiation produced, if any, not being of direct interest | [5 empty] | dm:ClassOfInanimatePhysicalObject
ALARM SYSTEM | LAMP |  |  | WARNING LAMP | [5 empty] | rdl:RDS314774 |  | A <WARNING LAMP> is an <ALARM SYSTEM> and a <LAMP> that is activated when something abnormal occurs in a system | [5 empty] | dm:ClassOfInanimatePhysicalObject
ILLUMINATOR |  |  | LIGHT SOURCE | [5 empty] | rdl:RDS17600588 |  | A <LIGHT SOURCE> is an <ILLUMINATOR> and that is serving as a source of illumination | [5 empty] | dm:ClassOfFunctionalObject
ARTEFACT | LIGHT SOURCE |  |  | INFRARED LIGHT SOURCE | [5 empty] | rdl:RDS7477549 |  | An <INFRARED LIGHT SOURCE> is an <ARTEFACT> and a <LIGHT SOURCE> that generates an infrared light beam | [5 empty] | dm:ClassOfInanimatePhysicalObject