## RDL browser
RDL2 browser to spreadsheet tool version 78 |  |  |  | Endpoint: http://data.15926.org/rdl/
Contact: onno.paap@gmail.com |  |  | Action | FIXED TRIP MECHANICAL SWITCHING DEVICE | http://data.15926.org/rdl/RDS935729
|  |  | Action | POLE OF A SWITCHING DEVICE | http://data.15926.org/rdl/RDS954314
Search: | SWITCHING DEVICE | INSTRUMENT CONNECTION | Action | RELEASER OF A MECHANICAL SWITCHING DEVICE | http://data.15926.org/rdl/RDS954899
|  |  | Action | SEMICONDUCTOR SWITCHING DEVICE | http://data.15926.org/rdl/RDS934424
|  |  | Action | SWITCHING DEVICE | http://data.15926.org/rdl/RDS934334
|  |  | Action | TRIP-FREE MECHANICAL SWITCHING DEVICE | http://data.15926.org/rdl/RDS935774
Note: first set coloring on in Settings
Coloring (containing this string will give this color)
ClassOfFunctionalObject
ClassOfInanimatePhysicalObject
Namespace replacer (definition containing this string replaces the namespace)
| API | API:
| ASME | ASME:
| ASTM | ASTM:
| DIN | DIN:
| EN | EN:
| ISO | ISO:
| NORSOK | NOR:
| NPD | NOR:
| NS | NOR:
| ROSEMOUNT | ROS:
| SAE | SAE:
| SIEMENS | SIE:
| SKOTSELV | SKOT:
| TWR | TWR:
Go
Settings
Missing subClassOf
Orphans
List Entities
Doubles
Orphans
Clear Cache (use on DB change)
Orphans
Missing Super
List Subclasses
Error in Definitions
Orphans
Compare RDL2 with views folder
Orphans
RDL Deprec Super
Orphans
GO
Knop 20

## Settings (hidden)
Setting name | Select name | OnKey | Value | Status | RDLType
Endpoint | RDL2 (15926.org) |  | http://data.15926.org/rdl/ | Current |  | Note: end address always with a slash (/)
Endpoint | PCA RDL |  | http://data.posccaesar.org/rdl/ |  |  | Note: end address always with a slash (/)
Endpoint | PCA Staging |  | http://staging.data.posccaesar.org/rdl/ |  |  | Note: end address always with a slash (/)
Endpoint | PCA SVRDL |  | http://svrdl.community.data.posccaesar.org/rdl/ |  |  | Note: end address always with a slash (/)
Endpoint | PCA P4 |  | http://posccaesar.org/p4/sparql |  |  | Note: end address always with a slash (/)
Endpoint | PCA P12 |  | http://sti.data.posccaesar.org/rdl/ |  |  | Note: end address always with a slash (/)
Endpoint | Localhost |  | http://localhost:8890/sparql/ |  |  | Note: end address always with a slash (/)
gBaseNamespace |  | http://data.posccaesar.org/rdl/ | http://data.posccaesar.org/rdl/ |  | RDS
gBaseNamespace |  | http://staging.data.posccaesar.org/rdl/ | http://data.posccaesar.org/rdl/ |  | RDS2
gBaseNamespace |  | http://data.15926.org/rdl/ | http://data.15926.org/rdl/ |  | RDL2
gBaseNamespace |  | http://svrdl.community.data.posccaesar.org/rdl/ | http://svrdl.community.data.posccaesar.org/rdl/ |  | RDL2
gBaseNamespace |  | http://posccaesar.org/p4/sparql | http://posccaesar.org/rdl/ |  | RDS
gBaseNamespace |  | http://sti.data.posccaesar.org/rdl/ | http://sti.data.posccaesar.org/rdl/ |  | RDL2
gBaseNamespace |  | http://localhost:8890/sparql/ | http://data.15926.org/rdl/ |  | RDL2
gKeepSettings |  |  | T
gShowDeprecated |  |  | F
gColoring |  |  | T
gNamespaceReplacing |  |  | F
gHyperlinkReplacing |  |  | F
Endpoint | aisi |  | http://data.15926.org/aisi/ |  |  | Note: end address always with a slash (/)
Endpoint | ansi |  | http://data.15926.org/ansi/ |  |  | Note: end address always with a slash (/)
Endpoint | api |  | http://data.15926.org/api/ |  |  | Note: end address always with a slash (/)
Endpoint | all |  | http://data.15926.org/all/ |  |  | Note: end address always with a slash (/)
Endpoint | asme |  | http://data.15926.org/asme/ |  |  | Note: end address always with a slash (/)
Endpoint | astm |  | http://data.15926.org/astm/ |  |  | Note: end address always with a slash (/)
Endpoint | atex |  | http://data.15926.org/atex/ |  |  | Note: end address always with a slash (/)
Endpoint | bs |  | http://data.15926.org/bs/ |  |  | Note: end address always with a slash (/)
Endpoint | cfihos |  | http://data.15926.org/cfihos/ |  |  | Note: end address always with a slash (/)
Endpoint | din |  | http://data.15926.org/din/ |  |  | Note: end address always with a slash (/)
Endpoint | dm |  | http://data.15926.org/dm/ |  |  | Note: end address always with a slash (/)
Endpoint | dnv |  | http://data.15926.org/dnv/ |  |  | Note: end address always with a slash (/)
Endpoint | edm |  | http://data.15926.org/edm/ |  |  | Note: end address always with a slash (/)
Endpoint | en |  | http://data.15926.org/en/ |  |  | Note: end address always with a slash (/)
Endpoint | eu |  | http://data.15926.org/eu/ |  |  | Note: end address always with a slash (/)
Endpoint | iec |  | http://data.15926.org/iec/ |  |  | Note: end address always with a slash (/)
Endpoint | ieee |  | http://data.15926.org/ieee/ |  |  | Note: end address always with a slash (/)
Endpoint | iso |  | http://data.15926.org/iso/ |  |  | Note: end address always with a slash (/)
Endpoint | lci |  | http://data.15926.org/lci/ |  |  | Note: end address always with a slash (/)
Endpoint | mss |  | http://data.15926.org/mss/ |  |  | Note: end address always with a slash (/)
Endpoint | nace |  | http://data.15926.org/nace/ |  |  | Note: end address always with a slash (/)
Endpoint | nec |  | http://data.15926.org/nec/ |  |  | Note: end address always with a slash (/)
Endpoint | nema |  | http://data.15926.org/nema/ |  |  | Note: end address always with a slash (/)
Endpoint | nfpa |  | http://data.15926.org/nfpa/ |  |  | Note: end address always with a slash (/)
Endpoint | nor |  | http://data.15926.org/nor/ |  |  | Note: end address always with a slash (/)
Endpoint | rdl |  | http://data.15926.org/rdl/ |  |  | Note: end address always with a slash (/)
Endpoint | sae |  | http://data.15926.org/sae/ |  |  | Note: end address always with a slash (/)
Endpoint | sie |  | http://data.15926.org/sie/ |  |  | Note: end address always with a slash (/)
Endpoint | tema |  | http://data.15926.org/tema/ |  |  | Note: end address always with a slash (/)
Endpoint | twr |  | http://data.15926.org/twr/ |  |  | Note: end address always with a slash (/)
Endpoint | uns |  | http://data.15926.org/uns/ |  |  | Note: end address always with a slash (/)
Endpoint | wits |  | http://data.15926.org/wits/ |  |  | Note: end address always with a slash (/)
gBaseNamespace |  | http://data.15926.org/aisi/ | http://data.15926.org/aisi/ |  | RDL2
gBaseNamespace |  | http://data.15926.org/ansi/ | http://data.15926.org/ansi/ |  | RDL2
gBaseNamespace |  | http://data.15926.org/api/ | http://data.15926.org/api/ |  | RDL2
gBaseNamespace |  | http://data.15926.org/asme/ | http://data.15926.org/asme/ |  | RDL2
gBaseNamespace |  | http://data.15926.org/all/ | http://data.15926.org/all/ |  | RDL2
gBaseNamespace |  | http://data.15926.org/astm/ | http://data.15926.org/astm/ |  | RDL2
gBaseNamespace |  | http://data.15926.org/atex/ | http://data.15926.org/atex/ |  | RDL2
gBaseNamespace |  | http://data.15926.org/bs/ | http://data.15926.org/bs/ |  | RDL2
gBaseNamespace |  | http://data.15926.org/cfihos/ | http://data.15926.org/cfihos/ |  | RDL2
gBaseNamespace |  | http://data.15926.org/din/ | http://data.15926.org/din/ |  | RDL2
gBaseNamespace |  | http://data.15926.org/dm/ | http://data.15926.org/dm/ |  | RDL2
gBaseNamespace |  | http://data.15926.org/dnv/ | http://data.15926.org/dnv/ |  | RDL2
gBaseNamespace |  | http://data.15926.org/edm/ | http://data.15926.org/edm/ |  | RDL2
gBaseNamespace |  | http://data.15926.org/en/ | http://data.15926.org/en/ |  | RDL2
gBaseNamespace |  | http://data.15926.org/eu/ | http://data.15926.org/eu/ |  | RDL2
gBaseNamespace |  | http://data.15926.org/iec/ | http://data.15926.org/iec/ |  | RDL2
gBaseNamespace |  | http://data.15926.org/ieee/ | http://data.15926.org/ieee/ |  | RDL2
gBaseNamespace |  | http://data.15926.org/iso/ | http://data.15926.org/iso/ |  | RDL2
gBaseNamespace |  | http://data.15926.org/lci/ | http://data.15926.org/lci/ |  | RDL2
gBaseNamespace |  | http://data.15926.org/mss/ | http://data.15926.org/mss/ |  | RDL2
gBaseNamespace |  | http://data.15926.org/nace/ | http://data.15926.org/nace/ |  | RDL2
gBaseNamespace |  | http://data.15926.org/nec/ | http://data.15926.org/nec/ |  | RDL2
gBaseNamespace |  | http://data.15926.org/nema/ | http://data.15926.org/nema/ |  | RDL2
gBaseNamespace |  | http://data.15926.org/nfpa/ | http://data.15926.org/nfpa/ |  | RDL2
gBaseNamespace |  | http://data.15926.org/nor/ | http://data.15926.org/nor/ |  | RDL2
gBaseNamespace |  | http://data.15926.org/rdl/ | http://data.15926.org/rdl/ |  | RDL2
gBaseNamespace |  | http://data.15926.org/sae/ | http://data.15926.org/sae/ |  | RDL2
gBaseNamespace |  | http://data.15926.org/sie/ | http://data.15926.org/sie/ |  | RDL2
gBaseNamespace |  | http://data.15926.org/tema/ | http://data.15926.org/tema/ |  | RDL2
gBaseNamespace |  | http://data.15926.org/twr/ | http://data.15926.org/twr/ |  | RDL2
gBaseNamespace |  | http://data.15926.org/uns/ | http://data.15926.org/uns/ |  | RDL2
gBaseNamespace |  | http://data.15926.org/wits/ | http://data.15926.org/wits/ |  | RDL2

## about
Version 78 changes | 2021-11-25 | Onno Paap
Repaired output like &amp;lt; in the skos:definition
Version 77 changes | 2021-05-18 | Onno Paap
Made workaround for weird Microsoft Windows update which invalidated the System.Xml library (got emails from people)
Version 76 changes | 2020-01-26 | Onno Paap
Added CFIHOS endpoint to search in
Version 75 changes | 2018-10-05 | Onno Paap
missing superclasses - and orphans- filter no deprecated classes
Version 74 changes | 2018-09-30 | Onno Paap
Repaired bug missing label
Version 73 changes | 2018-05-16 | Onno Paap
Repaired bug Deprecated Superclass
Version 71 changes | 2016-07-17 | Onno Paap
Aded report button for comparison of RDL2 with a subfolder called views filled with spreadsheets.
Version 69 changes | 2016-06-16 | Onno Paap
Added button: "errors in definitions" that lists all classes that have more or less "<" brackets than the number of super class relationships + 1. Where the part after the word "that " is ignored in the count of "<" brackets.
Version 68 changes | 2016-06-13 | Onno Paap
Updated endpoint of RDL2 sparql
Version 67 changes | 2016-05-22 | Onno Paap
Added button list subclasses from superclass
Version 65 changes | 2016-04-25 | Onno Paap
Added checkbox at action dialog "supress double child occurances" so that this built-in feature can be switched off
Version 64 changes | 2016-04-20 | Onno Paap
Made search case-insensitive and added endpoint "all"
Version 63 changes | 2016-09-28 | Onno Paap
Made entity list working on P4 endpoint (they changed the database version which was not accepting som sparql setting)
Version 62 changes | 2016-09-28 | Onno Paap
Applied show deprecated to searched result list
Version 61 changes | 2016-08-29 | Onno Paap
Added query from pcardl for ClassOfIndirectProperty
Version 60 changes | 2016-08-19 | Onno Paap
Repaired failing entity reports
Version 59 changes | 2016-08-19 | Onno Paap
Missing superclasses now queries whole federation of RDL2
Version 58 changes | 2016-08-16 | Onno Paap
Repaired missing output for entities and doubles in RDL2 endpoints other than rdl
Version 57 changes | 2016-08-13 | Onno Paap
Doubles report now skips classes that are deprecated
Version 56 changes | 2016-07-22 | Onno Paap
Made rowheight suitable for longer definitions to example DESIGN BASIS
Version 55 changes | 2016-07-19 | Onno Paap
Made rowheight suitable for longer definitions
Version 54 changes | 2016-07-03 | Onno Paap
Entity Type field changed to 6 merged cells.
Version 53 changes | 2016-06-23 | Onno Paap
added lci namespace
Version 52 changes | 2016-06-23 | Onno Paap
Added deprecated count to list entities
Version 51 changes | 2016-06-19 | Onno Paap
Updated namespaces of staging RDL
Version 50 changes | 2016-06-19 | Onno Paap
taxonomy view repaired missing entity type
Version 49 changes | 2016-06-14 | Onno Paap
Room for 12 superclasses
Version 48 changes | 2016-06-14 | Onno Paap
Repaired NOR:/RDS bug
Version 47 changes | 2016-06-14 | Onno Paap
Repaired endpoint bug
Version 46 changes | 2016-06-13 | Onno Paap
Updated endpoints
Version 45 changes | 2016-06-06 | Onno Paap
Completed Missing Superclasses report
Version 44 changes | 2016-05-20 | Onno Paap
Added Clear Cache button (use on any database changes)
Version 43 changes | 2016-05-19 | Onno Paap
Changed non-existing super classes to show as "no label"
Version 42 changes | 2016-05-02 | Onno Paap
bug fix
Version 41 changes | 2016-05-02 | Onno Paap
Added setting to show/not show deprecated items. If shown, they are stricken through
Version 40 changes | 2016-03-31 | Onno Paap
Added in doubles: two classes having the same label.
Version 39 changes | 2016-03-21 | Onno Paap
Made the query more robust, after the server hass been returning a 404 occasionally
Version 38 changes | 2016-03-03 | Onno Paap
Repaired bug entity type query on PCA endpoint
Version 37 changes | 2016-01-29 | Onno Paap
Showing deprecated class in taxonomy with label in strikethrough.
Version 36 changes | 2016-01-13 | Onno Paap
Added the 17 endpoints of http://data.15926.org/rdl
Version 35 changes | 2016-01-13 | Onno Paap
In taxonomy view, disregard all rdf:type that is not data model. So only show rdf:type that is dm:
Version 34 changes | 2016-01-13 | Onno Paap
Solved taxonomy levels regression bug
Version 33 changes | 2016-01-11 | Onno Paap
Enhanced the doubled query. First 4 columns are about the triple, the rest is info.
Repaired bug in entity type query.
Version 30 changes | 2016-01-03 | Onno Paap
Repaired entity type query for old PCA RDL. Repaired bug in entity type query where a class that has a superclass of the wanted type as well as of another type became the start point of a new taxonomy as well as part in the main taxonomy. (read that again)
Version 29 changes | 2016-01-02 | Onno Paap
Filtered entity filtered taxonomy to only show the filtered entity not subClassOf of another entity
Version 27 changes | 2016-01-01 | Onno Paap
few bugs repaired. Changed entity search into presenting taxonomies.
Version 26 changes | 2015-12-26 | Onno Paap
few bugs repaired.
Version 25 changes | 2015-12-26 | Onno Paap
Added Part 12 and localhost endpoints
Added button for selecting double labels and definitions.
Version 24 changes | 2015-12-14 | Onno Paap
Added button to list all distinct entity data types and their counts, and click to show.
Added a button to show all orphans that have a rdfs:label
Version 23 changes
Added endpoint posccaesar.org/p4/sparql
Version 22 changes
Added endpoint staging.data.posccaesar.org/rdl
Version 21 changes
Repaired bug where namespace replace was based upon definition instead of class label
Version 20 changes
Repaired bug where definition did not show up if hyperlink replace was on.
Version 19 changes (skip version 16-18)
Settings expanded with persist settings, namespace replacer and hyperlink replacer
Added namespace replacer which will replace the RDL: namespace of the ID with the namespace given in the list on the front page.
Added hyperlink replacer which will find terms between single quotes and look them up in the RDL, then add a hyperlink in the text if found. Anchor tag <a></a> used not &hyperlink() so looks ugly.
Version 15 changes
Changed browser page Action buttons to hyperlinks because buttons are not equally spaced between Excel versions (Office 2007 versus Office 365)
First row is empty. Move all up.
Make stop button for during query taxonomy query execution
Version 14 changes
Aligned buttons on browser page
Made color notification work. Note: switch it on first in settings. Default is off
Top align subclasses in taxonomy
Subclasses made to hyperlink in taxonomy
Subclasses made to increase column width in taxonomy
Made browser search go when hitting enter in search field
todo
Make setting for outputting to other result pages

## Results1
FunctionalObject |  |  | SWITCHING DEVICE | [5 empty] | rdl:RDS934334 |  | A <SWITCHING DEVICE> is a <FunctionalObject> that has the capability of <SWITCHING> | [5 empty] | dm:ClassOfFunctionalObject
ARTEFACT | SWITCHING DEVICE |  |  | AUTOMATIC SWITCHING EQUIPMENT | [5 empty] | rdl:RDS1026134 |  | An <AUTOMATIC SWITCHING EQUIPMENT> is an <ARTEFACT> and a <SWITCHING DEVICE> that is automatic and designed to initiate the operation of circuit breakers and/or disconnectors in a substation according to a specific programme | [5 empty] | dm:ClassOfInanimatePhysicalObject
AUTOMATIC SWITCHING EQUIPMENT |  |  |  |  | AUTOMATIC LOAD RESTORATION EQUIPMENT | [5 empty] | rdl:RDS1026494 |  | An <AUTOMATIC LOAD RESTORATION EQUIPMENT> is an <AUTOMATIC SWITCHING EQUIPMENT> intended to initiate reclosing of circuit-breakers automatically after tripping due to a load shedding operation | [5 empty] | dm:ClassOfInanimatePhysicalObject
AUTOMATIC SWITCHING EQUIPMENT |  |  |  |  | AUTOMATIC RECLOSING EQUIPMENT | [5 empty] | rdl:RDS1026179 |  | An <AUTOMATIC RECLOSING EQUIPMENT> is an <AUTOMATIC SWITCHING EQUIPMENT> which is designed to initiate the reclosing of circuit-breaker(s) after operation of the protection on the associated circuit | [5 empty] | dm:ClassOfInanimatePhysicalObject
AUTOMATIC RECLOSING EQUIPMENT | [5 empty] | AUTOMATIC RESTORATION EQUIPMENT | [5 empty] | rdl:RDS1026449 |  | An <AUTOMATIC RESTORATION EQUIPMENT> is an <AUTOMATIC RECLOSING EQUIPMENT> intended to initiate the scheduled, sequential and delayed automatic reconnection of circuit-breakers or other specific switching devices. | [5 empty] | dm:ClassOfInanimatePhysicalObject
AUTOMATIC RECLOSING EQUIPMENT | [5 empty] | MULTIPLE-SHOT RECLOSING EQUIPMENT | [5 empty] | rdl:RDS1026359 |  | A <MULTIPLE-SHOT RECLOSING EQUIPMENT> is an <AUTOMATIC RECLOSING EQUIPMENT> repeated two or three times (usually not more) if unsuccessful. | [5 empty] | dm:ClassOfInanimatePhysicalObject
AUTOMATIC RECLOSING EQUIPMENT | [5 empty] | SINGLE-POLE RECLOSING EQUIPMENT | [5 empty] | rdl:RDS1026224 |  | A <SINGLE-POLE RECLOSING EQUIPMENT> is an <AUTOMATIC RECLOSING EQUIPMENT> intended to reclose one pole of a circuit-breaker following a single-phase power system fault. | [5 empty] | dm:ClassOfInanimatePhysicalObject
AUTOMATIC RECLOSING EQUIPMENT | [5 empty] | THREE-POLE RECLOSING EQUIPMENT | [5 empty] | rdl:RDS1026269 |  | A <THREE-POLE RECLOSING EQUIPMENT> is an <AUTOMATIC RECLOSING EQUIPMENT> intended to reclose three poles of a circuit-breaker following power system fault. | [5 empty] | dm:ClassOfInanimatePhysicalObject
THREE-POLE RECLOSING EQUIPMENT | [6 empty] | THREE-POLE RECLOSING EQUIPMENT WITH SYNCHROCHECK | [5 empty] | rdl:RDS1026404 |  | A <THREE-POLE RECLOSING EQUIPMENT WITH SYNCHROCHECK> is a <THREE-POLE RECLOSING EQUIPMENT> with a check on voltage, frequency difference, and phase angle before closing the circuit-breaker. | [5 empty] | dm:ClassOfInanimatePhysicalObject
ARTEFACT | SWITCHING DEVICE |  |  | AUTOMATICALLY OPERATED SWITCH | [5 empty] | rdl:RDS2224475 |  | An <AUTOMATICALLY OPERATED SWITCH> is an <ARTEFACT> and a <SWITCHING DEVICE> that is operated by a <SYSTEM> | [5 empty] | dm:ClassOfInanimatePhysicalObject
AUTOMATICALLY OPERATED SWITCH | SELECTOR SWITCH |  |  |  | AUTOMATIC SELECTOR SWITCH | [5 empty] | rdl:RDS2224501 |  | An <AUTOMATIC SELECTOR SWITCH> is an <AUTOMATICALLY OPERATED SWITCH> and a <SELECTOR SWITCH> | [5 empty] | dm:ClassOfInanimatePhysicalObject
AUTOMATIC SELECTOR SWITCH | FLAME SWITCH |  |  |  |  | FLAME SELECTOR SWITCH | [5 empty] | rdl:RDS2224502 |  | A <FLAME SELECTOR SWITCH> is a <FLAME SWITCH> and an <AUTOMATIC SELECTOR SWITCH> | [5 empty] | dm:ClassOfInanimatePhysicalObject
ELECTRICAL APPARATUS | SWITCHING DEVICE |  |  | CIRCUIT BREAKER | [5 empty] | rdl:RDS463994 |  | A <CIRCUIT BREAKER> is an <ELECTRICAL APPARATUS> and a <SWITCHING DEVICE> that at regular intervals interrupts an electric current | [5 empty] | dm:ClassOfInanimatePhysicalObject
CIRCUIT BREAKER |  |  |  |  | AIR CIRCUIT BREAKER | [5 empty] | rdl:RDS876239 |  | An <AIR CIRCUIT BREAKER> is a <CIRCUIT BREAKER> in which the contacts open and close in air at atmospheric pressure. | [5 empty] | dm:ClassOfInanimatePhysicalObject
AIR CIRCUIT BREAKER | [5 empty] | EARTH LEAKAGE CIRCUIT BREAKER | [5 empty] | rdl:RDS876509 |  | An <EARTH LEAKAGE CIRCUIT BREAKER> is an <AIR CIRCUIT BREAKER> intended to break the supply in the event of an earth fault being detected. | [5 empty] | dm:ClassOfInanimatePhysicalObject
EARTH LEAKAGE CIRCUIT BREAKER | [6 empty] | RESIDUAL CURRENT CIRCUIT BREAKER | [5 empty] | rdl:RDS876644 |  | A <RESIDUAL CURRENT CIRCUIT BREAKER> is an <EARTH LEAKAGE CIRCUIT BREAKER> in which the earth fault is detected by an imbalance in the current in the phase and neutral conductors. | [5 empty] | dm:ClassOfInanimatePhysicalObject
AIR CIRCUIT BREAKER | [5 empty] | MINIATURE CIRCUIT BREAKER | [5 empty] | rdl:RDS876554 |  | A <MINIATURE CIRCUIT BREAKER> is an <AIR CIRCUIT BREAKER> intended for low power low voltage installations. | [5 empty] | dm:ClassOfInanimatePhysicalObject
AIR CIRCUIT BREAKER | [5 empty] | MOULDED-CASE CIRCUIT BREAKER | [5 empty] | rdl:RDS876599 |  | An <MOULDED-CASE CIRCUIT BREAKER> is an <AIR CIRCUIT BREAKER> having a supporting housing of moulded insulating material forming an integral part of the <CIRCUIT BREAKER>. | [5 empty] | dm:ClassOfInanimatePhysicalObject
CIRCUIT BREAKER |  |  |  |  | CIRCUIT BREAKER WITH LOCK-OUT PREVENTING CLOSING | [5 empty] | rdl:RDS913814 |  | A <CIRCUIT BREAKER WITH LOCK-OUT PREVENTING CLOSING> is a <CIRCUIT BREAKER> in which none of the moving contacts can make current if the closing command is initiated while the conditions which should cause the opening operation remain established. | [5 empty] | dm:ClassOfInanimatePhysicalObject
CIRCUIT BREAKER |  |  |  |  | CURRENT-LIMITING CIRCUIT BREAKER | [5 empty] | rdl:RDS913724 |  | A <CURRENT-LIMITING CIRCUIT BREAKER> is a <CIRCUIT BREAKER> with a break-time short enough to prevent the short circuit current reaching its otherwise attainable peak value. | [5 empty] | dm:ClassOfInanimatePhysicalObject
CIRCUIT BREAKER |  |  |  |  | DEAD TANK CIRCUIT BREAKER | [5 empty] | rdl:RDS913679 |  | A <DEAD TANK CIRCUIT BREAKER> is a <CIRCUIT BREAKER> with interrupters in an earthed metal tank. | [5 empty] | dm:ClassOfInanimatePhysicalObject
CIRCUIT BREAKER |  |  |  |  | GAS-BLAST CIRCUIT BREAKER | [5 empty] | rdl:RDS913544 |  | A <GAS-BLAST CIRCUIT BREAKER> is a <CIRCUIT BREAKER> in which the arc develops in a blast of gas. | [5 empty] | dm:ClassOfInanimatePhysicalObject
GAS-BLAST CIRCUIT BREAKER | [5 empty] | AIR-BLAST CIRCUIT BREAKER | [5 empty] | rdl:RDS876284 |  | An <AIR-BLAST CIRCUIT BREAKER> is a <GAS-BLAST CIRCUIT BREAKER> in which the gas used is air. | [5 empty] | dm:ClassOfInanimatePhysicalObject
CIRCUIT BREAKER |  |  |  |  | INTEGRALLY FUSED CIRCUIT BREAKER | [5 empty] | rdl:RDS913769 |  | An <INTEGRALLY FUSED CIRCUIT BREAKER> is a <CIRCUIT BREAKER> that is a combination, in a single device, of A <CIRCUIT BREAKER> and fuses, one fuse being placed in series with each pole of the circuit breaker intended to be connected to a phase conductor. | [5 empty] | dm:ClassOfInanimatePhysicalObject
CIRCUIT BREAKER |  |  |  |  | LIVE TANK CIRCUIT BREAKER | [5 empty] | rdl:RDS913634 |  | A <LIVE TANK CIRCUIT BREAKER> is a <CIRCUIT BREAKER> with interrupters in a tank insulated from earth. | [5 empty] | dm:ClassOfInanimatePhysicalObject
CIRCUIT BREAKER |  |  |  |  | OIL CIRCUIT BREAKER | [5 empty] | rdl:RDS876329 |  | An <OIL CIRCUIT BREAKER> is a <CIRCUIT BREAKER> in which the contacts open and close in oil. | [5 empty] | dm:ClassOfInanimatePhysicalObject
CIRCUIT BREAKER |  |  |  |  | SF6 CIRCUIT BREAKER | [5 empty] | rdl:RDS876419 |  | An <SF6 CIRCUIT BREAKER> is a <CIRCUIT BREAKER> in which the contacts open and close in sulphur hexafluoride. | [5 empty] | dm:ClassOfInanimatePhysicalObject
CIRCUIT BREAKER |  |  |  |  | VACUUM CIRCUIT BREAKER | [5 empty] | rdl:RDS876464 |  | A <VACUUM CIRCUIT BREAKER> is a <CIRCUIT BREAKER> in which the contacts open and close within a highly evacuated envelope. | [5 empty] | dm:ClassOfInanimatePhysicalObject
ELECTRICAL APPARATUS | SWITCHING DEVICE |  |  | CONTACTOR | [5 empty] | rdl:RDS464039 |  | A <CONTACTOR> is an <ELECTRICAL APPARATUS> and a <SWITCHING DEVICE> having only one position of rest, operated otherwise than by hand, capable of making, carrying and breaking currents under normal circuit conditions including operating overload conditions | [5 empty] | dm:ClassOfInanimatePhysicalObject
CONTACTOR |  |  |  |  | AIR CONTACTOR | [5 empty] | rdl:RDS876734 |  | An <AIR CONTACTOR> is a <CONTACTOR> that has its contacts in air. | [5 empty] | dm:ClassOfInanimatePhysicalObject
CONTACTOR | RELAY |  |  |  | CONTACTOR RELAY | [5 empty] | rdl:RDS935189 |  | A <CONTACTOR RELAY> is an <ARTEFACT> and a <RELAY> and a <CONTACTOR> | [5 empty] | dm:ClassOfInanimatePhysicalObject
CONTACTOR RELAY | [5 empty] | INSTANTANEOUS CONTACTOR RELAY | [5 empty] | rdl:RDS935234 |  | An <INSTANTANEOUS CONTACTOR RELAY> is a <CONTACTOR RELAY> operating without any intentional time delay. | [5 empty] | dm:ClassOfInanimatePhysicalObject
CONTACTOR RELAY | [5 empty] | TIME-DELAY CONTACTOR RELAY | [5 empty] | rdl:RDS935279 |  | A <TIME-DELAY CONTACTOR RELAY> is a <CONTACTOR RELAY> with specified time-delay characteristics. | [5 empty] | dm:ClassOfInanimatePhysicalObject
CONTACTOR |  |  |  |  | LATCHED CONTACTOR | [5 empty] | rdl:RDS935144 |  | A <LATCHED CONTACTOR> is a <CONTACTOR>, the moving elements of which are prevented by means of a latching arrangement from returning to the position of rest when the operating means are de-energized. | [5 empty] | dm:ClassOfInanimatePhysicalObject
CONTACTOR |  |  |  |  | VACUUM CONTACTOR | [5 empty] | rdl:RDS876779 |  | A <VACUUM CONTACTOR> is a <CONTACTOR> that make/break electrical contacts inside a sealed vacuum interrupter called a vacuum bottle. | [5 empty] | dm:ClassOfInanimatePhysicalObject
ARTEFACT | SWITCHING DEVICE |  |  | CONTROL STATION | [5 empty] | rdl:RDS953999 |  | A <CONTROL STATION> is an <ARTEFACT> and a <SWITCHING DEVICE> that is an assembly of one or more control switches fixed on the same panel or located in the same enclosure | [5 empty] | dm:ClassOfInanimatePhysicalObject
ARTEFACT | SWITCHING DEVICE |  |  | CONTROL SWITCH | [5 empty] | rdl:RDS935459 |  | A <CONTROL SWITCH> is an <ARTEFACT> and a <SWITCHING DEVICE> that serves the purpose of controlling the operation of switchgear or controlgear, including signalling, electrical interlocking, etc | [5 empty] | dm:ClassOfInanimatePhysicalObject
CONTROL SWITCH |  |  |  |  | DISCREPANCY SWITCH | [5 empty] | rdl:RDS1006019 |  | A <DISCREPANCY SWITCH> is a <CONTROL SWITCH> that is a switched indicator, with an acknowledgement facility, which shows any discrepancy between the actual and indicated state of the equipment being monitored. | [5 empty] | dm:ClassOfInanimatePhysicalObject
DISCREPANCY SWITCH | [5 empty] | CONTROL DISCREPANCY SWITCH | [5 empty] | rdl:RDS1006064 |  | A <CONTROL DISCREPANCY SWITCH> is a <DISCREPANCY SWITCH> incorporating a control function. | [5 empty] | dm:ClassOfInanimatePhysicalObject
CONTROL SWITCH |  |  |  |  | PILOT SWITCH | [5 empty] | rdl:RDS935549 |  | A <PILOT SWITCH> is a <CONTROL SWITCH> actuated in response to specified conditions of an actuating quantity. | [5 empty] | dm:ClassOfInanimatePhysicalObject
PILOT SWITCH | [5 empty] | AUTOMATIC RESET SWITCH | [5 empty] | rdl:RDS7457204 |  | An <AUTOMATIC RESET SWITCH> is a <PILOT SWITCH> of which the resetting is automatic. | [5 empty] | dm:ClassOfInanimatePhysicalObject
PILOT SWITCH | [5 empty] | DIFFERENTIAL TEMPERATURE SWITCH | [5 empty] | rdl:RDS879434 |  | A <DIFFERENTIAL TEMPERATURE SWITCH> is a <PILOT SWITCH> that is intended to measure and indicate and/or produce a signal which represents the measured differential temperature | [5 empty] | dm:ClassOfInanimatePhysicalObject
DIFFERENTIAL TEMPERATURE SWITCH | INSTRUMENTATION ITEM | [5 empty] | DIFFERENTIAL TEMPERATURE MEASURING INSTRUMENT - DOUBLE BULB | [5 empty] | rdl:RDS2227378 |  | A <DIFFERENTIAL TEMPERATURE MEASURING INSTRUMENT - DOUBLE BULB> is an <INSTRUMENTATION ITEM> and a <DIFFERENTIAL TEMPERATURE SWITCH> that handles the measurement results of a <DIFFERENTIAL TEMPERATURE MEASURING ELEMENT - DOUBLE BULB> | [5 empty] | dm:ClassOfInanimatePhysicalObject
DIFFERENTIAL TEMPERATURE SWITCH | INSTRUMENTATION ITEM | [5 empty] | DIFFERENTIAL TEMPERATURE MEASURING INSTRUMENT - RESISTANCE | [5 empty] | rdl:RDS2227379 |  | A <DIFFERENTIAL TEMPERATURE MEASURING INSTRUMENT - RESISTANCE> is an <INSTRUMENTATION ITEM> and a <DIFFERENTIAL TEMPERATURE SWITCH> that handles the measurement results of a <DIFFERENTIAL TEMPERATURE MEASURING ELEMENT - RESISTANCE> | [5 empty] | dm:ClassOfInanimatePhysicalObject
DIFFERENTIAL TEMPERATURE SWITCH | INSTRUMENTATION ITEM | [5 empty] | DIFFERENTIAL TEMPERATURE MEASURING INSTRUMENT - DOUBLE BIMETAL | [5 empty] | rdl:RDS2227377 |  | A <DIFFERENTIAL TEMPERATURE MEASURING INSTRUMENT - DOUBLE BIMETAL> is an <INSTRUMENTATION ITEM> and a <DIFFERENTIAL TEMPERATURE SWITCH> that handles the measurement results of a <DIFFERENTIAL TEMPERATURE MEASURING ELEMENT - DOUBLE BIMETAL> | [5 empty] | dm:ClassOfInanimatePhysicalObject
DIFFERENTIAL TEMPERATURE SWITCH | INSTRUMENTATION ITEM | [5 empty] | DIFFERENTIAL TEMPERATURE MEASURING INSTRUMENT - THERMOCOUPLE | [5 empty] | rdl:RDS2227380 |  | A <DIFFERENTIAL TEMPERATURE MEASURING INSTRUMENT - THERMOCOUPLE> is an <INSTRUMENTATION ITEM> and a <DIFFERENTIAL TEMPERATURE SWITCH> that handles the measurement results of a <DIFFERENTIAL TEMPERATURE MEASURING ELEMENT - THERMOCOUPLE> | [5 empty] | dm:ClassOfInanimatePhysicalObject
PILOT SWITCH | [5 empty] | MANUAL RESET SWITCH | [5 empty] | rdl:RDS7457266 |  | A <MANUAL RESET SWITCH> is a <PILOT SWITCH> of which the resetting is manually operated. | [5 empty] | dm:ClassOfInanimatePhysicalObject
PILOT SWITCH | [5 empty] | MICRO SWITCH | [5 empty] | rdl:RDS5779175 |  | A <MICRO SWITCH> is a <PILOT SWITCH> operated by very small movements of a lever, the circuit being made or broken or closed by spring-loaded contacts. | [5 empty] | dm:ClassOfInanimatePhysicalObject
PILOT SWITCH | [5 empty] | RADIOACTIVE SWITCH | [5 empty] | rdl:RDS7022455 |  | A <RADIOACTIVE SWITCH> is a <PILOT SWITCH> that uses absorption of gamma radiation from a radioactive isotope to monitor e.g. an area. | [5 empty] | dm:ClassOfInanimatePhysicalObject
PILOT SWITCH | [5 empty] | TRIP AMPLIFIER | [5 empty] | rdl:RDS6452934 |  | A <TRIP AMPLIFIER> is a <PILOT SWITCH> intended to create a switch action at a preset value. | [5 empty] | dm:ClassOfInanimatePhysicalObject
CONTROL SWITCH | PNEUMATIC APPARATUS |  |  |  | PNEUMATIC SWITCH | [5 empty] | rdl:RDS5779085 |  | A <PNEUMATIC SWITCH> is a <CONTROL SWITCH> and a <PNEUMATIC APPARATUS> | [5 empty] | dm:ClassOfInanimatePhysicalObject
CONTROL SWITCH |  |  |  |  | SENSITIVE SWITCH | [5 empty] | rdl:RDS964484 |  | A <SENSITIVE SWITCH> is a <CONTROL SWITCH> having a snap-action, micro-gap, mechanism which is operated directly by a defined force through a defined travel. | [5 empty] | dm:ClassOfInanimatePhysicalObject
CONTROL SWITCH |  |  |  |  | THERMAL TIME DELAY SWITCH | [5 empty] | rdl:RDS964529 |  | A <THERMAL TIME DELAY SWITCH> is a <CONTROL SWITCH> whose contacts control a load circuit and are delayed from operating for a predetermined time interval. | [5 empty] | dm:ClassOfInanimatePhysicalObject
THERMAL TIME DELAY SWITCH | [5 empty] | TEMPERATURE COMPENSATED THERMAL TIME DELAY SWITCH | [5 empty] | rdl:RDS964574 |  | A <TEMPERATURE COMPENSATED THERMAL TIME DELAY SWITCH> is a <THERMAL TIME DELAY SWITCH> in which the time delay is substantially independent of changes in ambient temperature. | [5 empty] | dm:ClassOfInanimatePhysicalObject
THERMAL TIME DELAY SWITCH | [5 empty] | VARIABLE THERMAL TIME DELAY SWITCH | [5 empty] | rdl:RDS964619 |  | A <VARIABLE THERMAL TIME DELAY SWITCH> is a <THERMAL TIME DELAY SWITCH> in which the time delay is variable within predetermined intervals. | [5 empty] | dm:ClassOfInanimatePhysicalObject
ELECTRICAL APPARATUS | SWITCHING DEVICE |  |  | DISCONNECTOR | [5 empty] | rdl:RDS934559 |  | A <DISCONNECTOR> is an <ELECTRICAL APPARATUS> and a <SWITCHING DEVICE> that provides, in the open position, an isolating distance in accordance with specified requirements | [5 empty] | dm:ClassOfInanimatePhysicalObject
DISCONNECTOR |  |  |  |  | CENTRE-BREAK DISCONNECTOR | [5 empty] | rdl:RDS934694 |  | A <CENTRE-BREAK DISCONNECTOR> is a <DISCONNECTOR> in which both contacts of each pole are movable and engage at a point substantially midway between their supports. | [5 empty] | dm:ClassOfInanimatePhysicalObject
DISCONNECTOR |  |  |  |  | DISCONNECTOR FUSE | [5 empty] | rdl:RDS934919 |  | A <DISCONNECTOR FUSE> is a <DISCONNECTOR> in which one or more poles have a fuse in series in a composite unit. | [5 empty] | dm:ClassOfInanimatePhysicalObject
DISCONNECTOR |  |  |  |  | DIVIDED SUPPORT DISCONNECTOR | [5 empty] | rdl:RDS934604 |  | A <DIVIDED SUPPORT DISCONNECTOR> is a <DISCONNECTOR> in which the fixed and moving contacts of each pole are not supported by a common base or frame. | [5 empty] | dm:ClassOfInanimatePhysicalObject
DISCONNECTOR |  |  |  |  | DOUBLE-BREAK DISCONNECTOR | [5 empty] | rdl:RDS934739 |  | A <DOUBLE-BREAK DISCONNECTOR> is a <DISCONNECTOR> that opens a circuit at two points. | [5 empty] | dm:ClassOfInanimatePhysicalObject
DISCONNECTOR |  |  |  |  | EARTHING SWITCH | [5 empty] | rdl:RDS876869 |  | An <EARTHING SWITCH> is a <DISCONNECTOR> for earthing parts of a circuit, capable of withstanding for a specified time currents under abnormal conditions such as those of short circuit, but not required to carry current under normal conditions of the circuit. | [5 empty] | dm:ClassOfInanimatePhysicalObject
EARTHING SWITCH | [5 empty] | DIVIDED SUPPORT EARTHING SWITCH | [5 empty] | rdl:RDS934649 |  | A <DIVIDED SUPPORT EARTHING SWITCH> is an <EARTHING SWITCH> in which the fixed and moving contacts of each pole are not supported by a common base or frame. | [5 empty] | dm:ClassOfInanimatePhysicalObject
DISCONNECTOR |  |  |  |  | FUSE-DISCONNECTOR | [5 empty] | rdl:RDS935054 |  | A <FUSE-DISCONNECTOR> is a <DISCONNECTOR> in which a fuse-link or a fuse-carrier with fuse-link forms the moving contact. | [5 empty] | dm:ClassOfInanimatePhysicalObject
DISCONNECTOR |  |  |  |  | MAGNETIC DOOR CLOSER RELEASE | [5 empty] | rdl:RDS1299240441 |  | A <MAGNETIC DOOR CLOSER RELEASE> is a <DISCONNECTOR> that switches off the current to a magnetic door shutter so that the door closes | [5 empty] | dm:ClassOfInanimatePhysicalObject
ARTEFACT | SWITCHING DEVICE |  |  | EARTH FAULT SWITCH | [5 empty] | rdl:RDS5779023 |  | An <EARTH FAULT SWITCH> is an <ARTEFACT> and a <SWITCHING DEVICE> which operates after an accidental connection between a live part of an electrical system and earth | [5 empty] | dm:ClassOfInanimatePhysicalObject
ARTEFACT | SWITCHING DEVICE |  |  | ELECTRICAL BREAKER | [5 empty] | rdl:RDS5762815 |  | An <ELECTRICAL BREAKER> is an <ARTEFACT> and a <SWITCHING DEVICE> that is an automatically operated electrical switch designed to protect an electrical circuit from damage caused by excess current, typically resulting from an overload or short circuit. Its basic function is to interrupt current flow after a fault is detected | [5 empty] | dm:ClassOfInanimatePhysicalObject
ARTEFACT | SWITCHING DEVICE |  |  | ELECTRICAL SWITCH | [5 empty] | rdl:RDS316394 |  | An <ELECTRICAL SWITCH> is an <ARTEFACT> and a <SWITCHING DEVICE> that turns electrical current on and/or off | [5 empty] | dm:ClassOfInanimatePhysicalObject
ELECTRICAL SWITCH |  |  |  |  | DPCO SWITCH | [5 empty] | rdl:RDS1472121461 |  | A <DPCO SWITCH> is an <ELECTRICAL SWITCH> that is a Double Pole ChangeOver or Double Pole, Centre Off switch, i.e. a changeover switch equivalent to DPDT switches. | [5 empty] | dm:ClassOfInanimatePhysicalObject
ELECTRICAL SWITCH |  |  |  |  | DPDT SWITCH | [5 empty] | rdl:RDS1472119881 |  | A <DPDT SWITCH> is an <ELECTRICAL SWITCH> that is a Double Pole, Double Throw switch, i.e. a simple changeover switch equivalent to two SPDT switches controlled by a single mechanism: A is connected to B and D to E, or A is connected to C and D to F. | [5 empty] | dm:ClassOfInanimatePhysicalObject
ELECTRICAL SWITCH |  |  |  |  | DPST SWITCH | [5 empty] | rdl:RDS1472118481 |  | A <DPST SWITCH> is an <ELECTRICAL SWITCH> that is a Double Pole, Single Throw switch, i.e. a simple changeover switch equivalent to two SPST switches controlled by a single mechanism. | [5 empty] | dm:ClassOfInanimatePhysicalObject
ELECTRICAL SWITCH |  |  |  |  | SPCO SWITCH | [5 empty] | rdl:RDS1472116611 |  | An <SPCO SWITCH> is an <ELECTRICAL SWITCH> that is a Single Pole ChangeOver switch, i.e. a simple changeover switch. | [5 empty] | dm:ClassOfInanimatePhysicalObject
ELECTRICAL SWITCH |  |  |  |  | SPDT SWITCH | [5 empty] | rdl:RDS1472069631 |  | An <SPDT SWITCH> is an <ELECTRICAL SWITCH> that is a Single Pole, Double Throw switch, i.e. a simple changeover switch: C (COM, Common) is connected to L1 or to L2. | [5 empty] | dm:ClassOfInanimatePhysicalObject
ELECTRICAL SWITCH |  |  |  |  | SPST SWITCH | [5 empty] | rdl:RDS1472066441 |  | An <SPST SWITCH> is an <ELECTRICAL SWITCH> that is a single pole, single throw switch, i.e. the two terminals are either connected together or disconnected from each other. | [5 empty] | dm:ClassOfInanimatePhysicalObject
ARTEFACT | SWITCHING DEVICE |  |  | ELECTRONICALLY ACTUATED SWITCH | [5 empty] | rdl:RDS2225350 |  | An <ELECTRONICALLY ACTUATED SWITCH> is an <ARTEFACT> and a <SWITCHING DEVICE> that is electrically actuated with electronic controls | [5 empty] | dm:ClassOfInanimatePhysicalObject
ELECTRICAL APPARATUS | SWITCHING DEVICE |  |  | FIXED TRIP MECHANICAL SWITCHING DEVICE | [5 empty] | rdl:RDS935729 |  | A <FIXED TRIP MECHANICAL SWITCHING DEVICE> is an <ELECTRICAL APPARATUS> and a <SWITCHING DEVICE> that cannot be released except when it is in the closed position | [5 empty] | dm:ClassOfInanimatePhysicalObject
ELECTRICAL APPARATUS | SWITCHING DEVICE |  |  | FUSE-COMBINATION UNIT | [5 empty] | rdl:RDS934514 |  | A <FUSE-COMBINATION UNIT> is an <ELECTRICAL APPARATUS> and a <SWITCHING DEVICE> and one or more fuses in a composite unit, assembled by the manufacturer or in accordance with his instructions | [5 empty] | dm:ClassOfInanimatePhysicalObject
ARTEFACT | SWITCHING DEVICE |  |  | FUSE-SWITCH | [5 empty] | rdl:RDS935009 |  | A <FUSE-SWITCH> is an <ARTEFACT> and a <SWITCHING DEVICE> in which a fuse-link or a fuse-carrier with fuse-link forms the moving contact | [5 empty] | dm:ClassOfInanimatePhysicalObject
ELECTRICAL APPARATUS | SWITCHING DEVICE |  |  | GAS EVOLVING SWITCH | [5 empty] | rdl:RDS934829 |  | A <GAS EVOLVING SWITCH> is an <ELECTRICAL APPARATUS> and a <SWITCHING DEVICE> in which the gas is evolved and moved by the thermal action of the arc | [5 empty] | dm:ClassOfInanimatePhysicalObject
ARTEFACT | SWITCHING DEVICE |  |  | HUMAN-OPERATED SWITCH | [5 empty] | rdl:RDS880919 |  | A <HUMAN-OPERATED SWITCH> is an <ARTEFACT> and a <SWITCHING DEVICE> that is operated by a person | [5 empty] | dm:ClassOfInanimatePhysicalObject
HUMAN-OPERATED SWITCH |  |  |  |  | CHANGE-OVER SWITCH | [5 empty] | rdl:RDS966599 |  | A <CHANGE-OVER SWITCH> is a <HUMAN-OPERATED SWITCH> for changing the connections from one set of its terminals to another. | [5 empty] | dm:ClassOfInanimatePhysicalObject
HUMAN-OPERATED SWITCH |  |  |  |  | FOOT SWITCH | [5 empty] | rdl:RDS935639 |  | A <FOOT SWITCH> is a <HUMAN-OPERATED SWITCH> having an actuator intended to be operated by foot. | [5 empty] | dm:ClassOfInanimatePhysicalObject
HUMAN-OPERATED SWITCH |  |  |  |  | KEY SWITCH | [5 empty] | rdl:RDS5779130 |  | A <KEY SWITCH> is a <HUMAN-OPERATED SWITCH> that may only be actuated by key. | [5 empty] | dm:ClassOfInanimatePhysicalObject
HUMAN-OPERATED SWITCH | SELECTOR SWITCH |  |  |  | MANUAL SELECTOR SWITCH | [5 empty] | rdl:RDS891494 |  | A <MANUAL SELECTOR SWITCH> is a <HUMAN-OPERATED SWITCH> and a <SELECTOR SWITCH> | [5 empty] | dm:ClassOfInanimatePhysicalObject
HUMAN-OPERATED SWITCH |  |  |  |  | PUSH BUTTON | [5 empty] | rdl:RDS473894 |  | A <PUSH BUTTON> is a <HUMAN-OPERATED SWITCH> having an actuator intended to be operated by force exerted by a part of the human body, usually the finger or palm of the hand, and having stored energy (spring) return. | [5 empty] | dm:ClassOfInanimatePhysicalObject
PUSH BUTTON | [5 empty] | EMERGENCY SHUT DOWN BUTTON | [5 empty] | rdl:RDS7057791 |  | An <EMERGENCY SHUT DOWN BUTTON> is a <PUSH BUTTON> which when manually activated starts a shut down system. | [5 empty] | dm:ClassOfInanimatePhysicalObject
PUSH BUTTON | [5 empty] | FIRE WATER DELUGE RELEASE BUTTON | [5 empty] | rdl:RDS7057836 |  | A <FIRE WATER DELUGE RELEASE BUTTON> is a <PUSH BUTTON> which is intended to start the deluge fire water system. | [5 empty] | dm:ClassOfInanimatePhysicalObject
PUSH BUTTON | [5 empty] | ILLUMINATED BUTTON | [5 empty] | rdl:RDS965159 |  | An <ILLUMINATED BUTTON> is a <PUSH BUTTON> that is associated with a lamp or lamps that can give a visual indication by illumination. | [5 empty] | dm:ClassOfInanimatePhysicalObject
PUSH BUTTON | [5 empty] | INERGEN RELEASE BUTTON | [5 empty] | rdl:RDS305054 |  | An <INERGEN RELEASE BUTTON> is a <PUSH BUTTON> for <ACTUATING> an inergen system. | [5 empty] | dm:ClassOfInanimatePhysicalObject
PUSH BUTTON | [5 empty] | LOCKING PUSH-BUTTON | [5 empty] | rdl:RDS877094 |  | A <LOCKING PUSH-BUTTON> is a <PUSH BUTTON> that stays depressed until released with a key. | [5 empty] | dm:ClassOfInanimatePhysicalObject
PUSH BUTTON | [5 empty] | MOMENTARY PUSH BUTTON | [5 empty] | rdl:RDS877139 |  | A <MOMENTARY PUSH BUTTON> is a <PUSH BUTTON> that provides contact only when pressed. | [5 empty] | dm:ClassOfInanimatePhysicalObject
PUSH BUTTON | [5 empty] | PUSH-PUSH PUSH BUTTON | [5 empty] | rdl:RDS6768180 |  | A <PUSH-PUSH PUSH BUTTON> is a <PUSH BUTTON> that is activated, and later released, by <PUSHING>. | [5 empty] | dm:ClassOfInanimatePhysicalObject
PUSH BUTTON | [5 empty] | SPRING RETURN PUSH BUTTON | [5 empty] | rdl:RDS1466086171 |  | An <SPRING RETURN PUSH BUTTON> is a <PUSH BUTTON> where a <SPRING> will return the <PUSH BUTTON> to a de-activated state. | [5 empty] | dm:ClassOfInanimatePhysicalObject
PUSH BUTTON | [5 empty] | STAY-PUT PUSH BUTTON | [5 empty] | rdl:RDS877184 |  | A <STAY-PUT PUSH BUTTON> is a <PUSH BUTTON> that stays in the activated state until manually released. | [5 empty] | dm:ClassOfInanimatePhysicalObject
PUSH BUTTON | [5 empty] | WATER MIST RELEASE BUTTON | [5 empty] | rdl:RDS315089 |  | A <WATER MIST RELEASE BUTTON> is a <PUSH BUTTON> for <ACTUATING> a water mist system. | [5 empty] | dm:ClassOfInanimatePhysicalObject
HUMAN-OPERATED SWITCH |  |  |  |  | ROTARY CONTROL SWITCH | [5 empty] | rdl:RDS935504 |  | A <ROTARY CONTROL SWITCH> is a <HUMAN-OPERATED SWITCH> having an actuator intended to be operated by rotation. | [5 empty] | dm:ClassOfInanimatePhysicalObject
HUMAN-OPERATED SWITCH |  |  |  |  | TAP CHANGER | [5 empty] | rdl:RDS877634 |  | A <TAP CHANGER> is a <HUMAN-OPERATED SWITCH> that changes the connection to a transformer from one tap to another so as to vary the turns ratio and hence control the output voltage under a varying load. | [5 empty] | dm:ClassOfInanimatePhysicalObject
TAP CHANGER | [5 empty] | OFF LOAD TAP CHANGER | [5 empty] | rdl:RDS877679 |  | An <OFF LOAD TAP CHANGER> is a <TAP CHANGER> for changing the tapping connections of a winding, suitable for operation while the transformer is off load. | [5 empty] | dm:ClassOfInanimatePhysicalObject
TAP CHANGER | [5 empty] | ON LOAD TAP CHANGER | [5 empty] | rdl:RDS877724 |  | An <ON LOAD TAP CHANGER> is a <TAP CHANGER> for changing the tapping connections of a winding, suitable for operation while the transformer is energized or on load. | [5 empty] | dm:ClassOfInanimatePhysicalObject
HUMAN-OPERATED SWITCH |  |  |  |  | TOGGLE SWITCH | [5 empty] | rdl:RDS964844 |  | A <TOGGLE SWITCH> is a <HUMAN-OPERATED SWITCH> operated by means of a projecting lever that is moved with a snap action, usually up and down. | [5 empty] | dm:ClassOfInanimatePhysicalObject
INSTRUMENTATION ITEM | SWITCHING DEVICE |  |  | HYDRAULIC SWITCH | [5 empty] | rdl:RDS6452046 |  | A <HYDRAULIC SWITCH> is an <INSTRUMENTATION ITEM> and a <SWITCHING DEVICE> intended to switch one or more hydraulic signals | [5 empty] | dm:ClassOfInanimatePhysicalObject
HYDRAULIC SWITCH |  |  |  |  | INSTRUMENT MANIFOLD | [5 empty] | rdl:RDS2223280 |  | An <INSTRUMENT MANIFOLD> is a <HYDRAULIC SWITCH> that combines one or more block/isolate valves and one or more bleed/vent valves into one component for the interface between a process fluid and an instrument | [5 empty] | dm:ClassOfInanimatePhysicalObject
INSTRUMENT MANIFOLD | [5 empty] | FLOW MANIFOLD | [5 empty] | rdl:RDS2222917 |  | A <FLOW MANIFOLD> is an <INSTRUMENT MANIFOLD> that is is suitable for all types of differential pressure instruments, , enabling isolation, calibration and venting in a single unit | [5 empty] | dm:ClassOfInanimatePhysicalObject
INSTRUMENT MANIFOLD | [5 empty] | INSTRUMENT MANIFOLD - 2-VALVE | [5 empty] | rdl:RDS2223282 |  | An <INSTRUMENT MANIFOLD - 2-VALVE> is an <INSTRUMENT MANIFOLD> with 2 valves | [5 empty] | dm:ClassOfInanimatePhysicalObject
INSTRUMENT MANIFOLD | [5 empty] | INSTRUMENT MANIFOLD - 3-VALVE | [5 empty] | rdl:RDS2223283 |  | An <INSTRUMENT MANIFOLD - 3-VALVE> is an <INSTRUMENT MANIFOLD> with 3 valves | [5 empty] | dm:ClassOfInanimatePhysicalObject
INSTRUMENT MANIFOLD | [5 empty] | INSTRUMENT MANIFOLD - 5-VALVE | [5 empty] | rdl:RDS2223285 |  | An <INSTRUMENT MANIFOLD - 5-VALVE> is an <INSTRUMENT MANIFOLD> with 5 valves | [5 empty] | dm:ClassOfInanimatePhysicalObject
INSTRUMENT MANIFOLD | [5 empty] | INSTRUMENT MANIFOLD - DIRECT MOUNT | [5 empty] | rdl:RDS2223286 |  | An <INSTRUMENT MANIFOLD - DIRECT MOUNT> is an <INSTRUMENT MANIFOLD> that is directly mounted on the instrument involved | [5 empty] | dm:ClassOfInanimatePhysicalObject
INSTRUMENT MANIFOLD | [5 empty] | INSTRUMENT MANIFOLD - REMOTE MOUNT | [5 empty] | rdl:RDS2223287 |  | An <INSTRUMENT MANIFOLD - REMOTE MOUNT> is an <INSTRUMENT MANIFOLD> that is remotely mounted from the instrument involved | [5 empty] | dm:ClassOfInanimatePhysicalObject
ARTEFACT | SWITCHING DEVICE |  |  | MECHANICALLY ACTUATED SWITCH | [5 empty] | rdl:RDS2225351 |  | A <MECHANICALLY ACTUATED SWITCH> is an <ARTEFACT> and a <SWITCHING DEVICE> that is actuated by some form of mechanical <ACTUATOR> | [5 empty] | dm:ClassOfInanimatePhysicalObject
MECHANICALLY ACTUATED SWITCH |  |  |  |  | ELECTRO-HYDRAULICALLY ACTUATED SWITCH | [5 empty] | rdl:RDS2225352 |  | An <ELECTRO-HYDRAULICALLY ACTUATED SWITCH> is a <MECHANICALLY ACTUATED SWITCH> that is actuated by an <ELECTRO-HYDRAULIC ACTUATOR> | [5 empty] | dm:ClassOfInanimatePhysicalObject
MECHANICALLY ACTUATED SWITCH |  |  |  |  | HYDRAULICALLY ACTUATED SWITCH | [5 empty] | rdl:RDS2225353 |  | A <HYDRAULICALLY ACTUATED SWITCH> is a <MECHANICALLY ACTUATED SWITCH> that is actuated by a <HYDRAULIC ACTUATOR> | [5 empty] | dm:ClassOfInanimatePhysicalObject
MECHANICALLY ACTUATED SWITCH |  |  |  |  | PNEUMATICALLY ACTUATED SWITCH | [5 empty] | rdl:RDS2225354 |  | A <PNEUMATICALLY ACTUATED SWITCH> is a <MECHANICALLY ACTUATED SWITCH> that is actuated by a <PNEUMATIC ACTUATOR> | [5 empty] | dm:ClassOfInanimatePhysicalObject
ARTEFACT | SWITCHING DEVICE |  |  | MULTI-CELL SWITCH | [5 empty] | rdl:RDS964439 |  | A <MULTI-CELL SWITCH> is an <ARTEFACT> and a <SWITCHING DEVICE> that is a frame assembly containing two or more basic cells, each of which may have any mechanical systems | [5 empty] | dm:ClassOfInanimatePhysicalObject
MEASURING INSTRUMENT | SWITCHING DEVICE |  |  | PROCESS SWITCH | [5 empty] | rdl:RDS7210156 |  | A <PROCESS SWITCH> is an <MEASURING INSTRUMENT> and a <SWITCHING DEVICE> that operates when the output of its <MEASURING ELEMENT> reaches a preset criterium | [5 empty] | dm:ClassOfFunctionalObject
DUST MEASURING INSTRUMENT | PROCESS SWITCH |  |  |  | DUST SWITCH | [5 empty] | rdl:RDS2220007 |  | A <DUST SWITCH> is a <PROCESS SWITCH> and a <DUST MEASURING INSTRUMENT> that switches when the dust concentration in a gas flow has reached a preset value | [5 empty] | dm:ClassOfFunctionalObject
FLAME DETECTING INSTRUMENT | PROCESS SWITCH |  |  |  | FLAME SWITCH | [5 empty] | rdl:RDS2224473 |  | A <FLAME SWITCH> is a <PROCESS SWITCH> and a <FLAME DETECTING MEASURING INSTRUMENT> | [5 empty] | dm:ClassOfFunctionalObject
FLOW MEASURING INSTRUMENT | PROCESS SWITCH |  |  |  | FLOW SWITCH | [5 empty] | rdl:RDS302894 |  | A <FLOW SWITCH> is a <PROCESS SWITCH> and a <FLOW MEASURING INSTRUMENT> | [5 empty] | dm:ClassOfFunctionalObject
POSITION MEASURING INSTRUMENT | PROCESS SWITCH |  |  |  | POSITION SWITCH | [5 empty] | rdl:RDS935594 |  | A <POSITION SWITCH> isa <PROCESS SWITCH> and a <POSITION MEASURING INSTRUMENT> | [5 empty] | dm:ClassOfFunctionalObject
INSTRUMENTATION ITEM | POSITION SWITCH |  |  |  |  | LIMIT SWITCH | [5 empty] | rdl:RDS418814 |  | A <LIMIT SWITCH> is an <INSTRUMENTATION ITEM> and a <POSITION SWITCH> that is a switch preventing the travel of an object in a mechanism past some predetermined point, mechanically operated by the motion of the object itself | [5 empty] | dm:ClassOfInanimatePhysicalObject
INSTRUMENTATION ITEM | PHOTOELECTRIC TRANSDUCER | POSITION SWITCH |  |  |  | PHOTOELECTRIC SWITCH | [5 empty] | rdl:RDS2227372 |  | A <PHOTOELECTRIC SWITCH> is an <INSTRUMENTATION ITEM> and a <POSITION SWITCH> and a <PHOTOELECTRIC TRANSDUCER> | [5 empty] | dm:ClassOfInanimatePhysicalObject
POSITION SWITCH | [5 empty] | PROXIMITY SWITCH | [5 empty] | rdl:RDS851084 |  | A <PROXIMITY SWITCH> is a <POSITION SWITCH> and a <PROXIMITY MEASURING INSTRUMENT> | [5 empty] | dm:ClassOfFunctionalObject
INSTRUMENTATION ITEM | POSITION SWITCH |  |  |  |  | TRAVEL STOP | [5 empty] | rdl:RDS7773461 |  | A <TRAVEL STOP> is a <POSITION SWITCH> that terminates a rotation when a predefined position has been reached | [5 empty] | dm:ClassOfInanimatePhysicalObject
PRESSURE MEASURING INSTRUMENT | PROCESS SWITCH |  |  |  | PRESSURE SWITCH | [5 empty] | rdl:RDS309419 |  | A <PRESSURE SWITCH> is a <PROCESS SWITCH> and a <PRESSURE MEASURING INSTRUMENT> | [5 empty] | dm:ClassOfFunctionalObject
ABSOLUTE PRESSURE MEASURING INSTRUMENT | PRESSURE SWITCH |  |  |  |  | ABSOLUTE PRESSURE SWITCH | [5 empty] | rdl:RDS2229460 |  | An <ABSOLUTE PRESSURE SWITCH> is a <PRESSURE SWITCH> and an <ABSOLUTE PRESSURE MEASURING INSTRUMENT> | [5 empty] | dm:ClassOfFunctionalObject
DIFFERENTIAL PRESSURE MEASURING INSTRUMENT | PRESSURE SWITCH |  |  |  |  | DIFFERENTIAL PRESSURE SWITCH | [5 empty] | rdl:RDS850949 |  | A <DIFFERENTIAL PRESSURE SWITCH> is a <PRESSURE SWITCH> and a <DIFFERENTIAL PRESSURE MEASURING INSTRUMENT> | [5 empty] | dm:ClassOfFunctionalObject
GAUGE PRESSURE MEASURING INSTRUMENT | PRESSURE SWITCH |  |  |  |  | GAUGE PRESSURE SWITCH | [5 empty] | rdl:RDS2229461 |  | A <GAUGE PRESSURE SWITCH> is a <PRESSURE SWITCH> and a <GAUGE PRESSURE MEASURING INSTRUMENT> | [5 empty] | dm:ClassOfFunctionalObject
PROCESS SWITCH | ROTATIONAL SPEED MEASURING INSTRUMENT |  |  |  | ROTATIONAL SPEED SWITCH | [5 empty] | rdl:RDS317159 |  | A <ROTATIONAL SPEED SWITCH> isa <PROCESS SWITCH> and a <ROTATIONAL SPEED MEASURING INSTRUMENT> | [5 empty] | dm:ClassOfFunctionalObject
PROCESS SWITCH | TEMPERATURE MEASURING INSTRUMENT |  |  |  | TEMPERATURE SWITCH | [5 empty] | rdl:RDS2229401 |  | A <TEMPERATURE SWITCH> isa <PROCESS SWITCH> using a <TEMPERATURE MEASURING INSTRUMENT> | [5 empty] | dm:ClassOfFunctionalObject
INSTRUMENTATION ITEM | TEMPERATURE SWITCH |  |  |  |  | THERMOSTAT | [5 empty] | rdl:RDS964664 |  | A <THERMOSTAT> is an <INSTRUMENTATION ITEM> and a <TEMPERATURE SWITCH> whose function is controlled by variations of temperature and whose contacts make or break automatically a load circuit when the temperature of the ambient space in which its sensing element placed or the temperature of the surface on which it is fixed reaches a predetermined value | [5 empty] | dm:ClassOfInanimatePhysicalObject
THERMOSTAT | [6 empty] | ADJUSTABLE THERMOSTAT | [5 empty] | rdl:RDS964709 |  | An <ADJUSTABLE THERMOSTAT> is a <THERMOSTAT> whose operating temperature may be varied by the user by adjusting the actuating mechanism, the position of which can be readily identified | [5 empty] | dm:ClassOfInanimatePhysicalObject
ADJUSTABLE THERMOSTAT | [7 empty] | MECHANICALLY ADJUSTABLE THERMOSTAT | [5 empty] | rdl:RDS1462231991 |  | A <MECHANICALLY ADJUSTABLE THERMOSTAT> is an <ADJUSTABLE THERMOSTAT> where the settings must be changed via mechanical means | [5 empty] | dm:ClassOfInanimatePhysicalObject
ADJUSTABLE THERMOSTAT | [7 empty] | PROGRAMMABLE ADJUSTABLE THERMOSTAT | [5 empty] | rdl:RDS1462230971 |  | A <PROGRAMMABLE ADJUSTABLE THERMOSTAT> is an <ADJUSTABLE THERMOSTAT> that is programmable; i.e. the settings can be changed in software | [5 empty] | dm:ClassOfInanimatePhysicalObject
THERMOSTAT | [6 empty] | AMBIENT THERMOSTAT | [5 empty] | rdl:RDS964754 |  | An <AMBIENT THERMOSTAT> is a <THERMOSTAT> that responds to changes in the temperature of the space into which its sensing element penetrates or is housed | [5 empty] | dm:ClassOfInanimatePhysicalObject
THERMOSTAT | [6 empty] | NON-ADJUSTABLE THERMOSTAT | [5 empty] | rdl:RDS964799 |  | A <NON-ADJUSTABLE THERMOSTAT> is a <THERMOSTAT> whose operating temperature is determined by a permanent setting carried out by the manufacturer | [5 empty] | dm:ClassOfInanimatePhysicalObject
INSTRUMENTATION ITEM | PROCESS SWITCH |  |  |  | TIMER | [5 empty] | rdl:RDS5768480 |  | A <TIMER> is an <INSTRUMENTATION ITEM> and a <PROCESS SWITCH> that provides a switching action at one or more pre-set intervals | [5 empty] | dm:ClassOfFunctionalObject
ELECTRICAL APPARATUS | TIMER |  |  |  |  | ELECTRIC TIMER | [5 empty] | rdl:RDS6590405 |  | An <ELECTRIC TIMER> is a <TIMER> and an <ELECTRICAL APPARATUS> that is electrically powered | [5 empty] | dm:ClassOfInanimatePhysicalObject
PROCESS SWITCH |  |  |  |  | TORQUE SWITCH | [5 empty] | rdl:RDS2227373 |  | A <TORQUE SWITCH> is a <PROCESS SWITCH> and a <TORQUE MEASURING INSTRUMENT> | [5 empty] | dm:ClassOfFunctionalObject
PROCESS SWITCH | VIBRATION MEASURING INSTRUMENT |  |  |  | VIBRATION SWITCH | [5 empty] | rdl:RDS317204 |  | A <VIBRATION SWITCH> isa <PROCESS SWITCH> and a <VIBRATION MEASURING INSTRUMENT> | [5 empty] | dm:ClassOfFunctionalObject
PROCESS SWITCH | WEIGHT MEASURING INSTRUMENT |  |  |  | WEIGHT SWITCH | [5 empty] | rdl:RDS317249 |  | A <WEIGHT SWITCH> is a <PROCESS SWITCH> and a <WEIGHT MEASURING INSTRUMENT> | [5 empty] | dm:ClassOfFunctionalObject
WEIGHT SWITCH | [5 empty] | WEIGHT SWITCH WITH LOAD CELL | [5 empty] | rdl:RDS2227375 |  | A <WEIGHT SWITCH WITH LOAD CELL> is a <WEIGHT SWITCH> that uses a <LOAD CELL> | [5 empty] | dm:ClassOfInanimatePhysicalObject
SWITCHING DEVICE |  |  |  | RELAY | [5 empty] | rdl:RDS876194 |  | A <RELAY> is a <SWITCHING DEVICE> that usually is incorporating an electromagnet, whereby a current or signal in one circuit can open or close another circuit | [5 empty] | dm:ClassOfFunctionalObject
ELECTRICAL APPARATUS | RELAY |  |  |  | AUXILIARY RELAY | [5 empty] | rdl:RDS877229 |  | An <AUXILIARY RELAY> is an <ELECTRICAL APPARATUS> and a <RELAY> that is mounted on the main actuating mechanism of another switch (typically a circuit breaker or a contactor) that operates in tandem with the main switch | [5 empty] | dm:ClassOfInanimatePhysicalObject
ELECTRICAL APPARATUS | RELAY |  |  |  | EARTH FAULT RELAY | [5 empty] | rdl:RDS5779254 |  | An <EARTH FAULT RELAY> is an <ELECTRICAL APPARATUS> and a <RELAY> that operates when a failure of insulation to earth is detected in the equipment or circuits protected | [5 empty] | dm:ClassOfInanimatePhysicalObject
ELECTRICAL APPARATUS | RELAY |  |  |  | ELECTRICAL RELAY | [5 empty] | rdl:RDS956339 |  | An <ELECTRICAL RELAY> is an <ELECTRICAL APPARATUS> and a <RELAY> designed to produce sudden, predetermined changes in one or more electrical output circuits when certain conditions are fulfilled in the electrical input circuits controlling the device | [5 empty] | dm:ClassOfInanimatePhysicalObject
ELECTRICAL RELAY | [5 empty] | ALL-OR-NOTHING RELAY | [5 empty] | rdl:RDS956429 |  | An <ALL-OR-NOTHING RELAY> is an <ELECTRICAL RELAY> that is intended to be energized by a quantity whose value is either within its operative range or effectively zero. | [5 empty] | dm:ClassOfInanimatePhysicalObject
ELECTRICAL RELAY | [5 empty] | BISTABLE RELAY | [5 empty] | rdl:RDS6233325 |  | A <BISTABLE RELAY> is an <ELECTRICAL RELAY> that, having responded to an energizing quantity and having changed its condition, remains in that condition after the quantity has been removed. | [5 empty] | dm:ClassOfInanimatePhysicalObject
ELECTRICAL RELAY | [5 empty] | CONTROL RELAY | [5 empty] | rdl:RDS877274 |  | A <CONTROL RELAY> is an <ELECTRICAL RELAY> that is operating by permitting the next step in a control circuit. | [5 empty] | dm:ClassOfInanimatePhysicalObject
CONTROL RELAY | [6 empty] | CHANGE OVER CONTACT RELAY | [5 empty] | rdl:RDS877364 |  | A <CHANGE OVER CONTACT RELAY> is a <CONTROL RELAY> that has change-over contacts. | [5 empty] | dm:ClassOfInanimatePhysicalObject
CONTROL RELAY | [6 empty] | PLUG-IN RELAY | [5 empty] | rdl:RDS877454 |  | A <PLUG-IN RELAY> is a <CONTROL RELAY> that has plug-in terminals so that all connections can be made simultaneously by pushing the unit into a socket. | [5 empty] | dm:ClassOfInanimatePhysicalObject
CONTROL RELAY | [6 empty] | TIMER RELAY | [5 empty] | rdl:RDS877499 |  | A <TIMER RELAY> is a <CONTROL RELAY> that will not close its front contacts or open its back contacts, or both, until expiration of a definite time interval after the relay has been energized. | [5 empty] | dm:ClassOfInanimatePhysicalObject
TIMER RELAY | [7 empty] | DELAY ON DE-ENERGISE RELAY | [5 empty] | rdl:RDS6233100 |  | A <DELAY ON DE-ENERGISE RELAY> is a <TIMER RELAY> that delays switching the contacts when the coil is de-energised. | [5 empty] | dm:ClassOfInanimatePhysicalObject
TIMER RELAY | [7 empty] | DELAY ON ENERGISE RELAY | [5 empty] | rdl:RDS877589 |  | A <DELAY ON ENERGISE RELAY> is a <TIMER RELAY> that delays switching the contacts when the coil is energised. | [5 empty] | dm:ClassOfInanimatePhysicalObject
ELECTRICAL RELAY | [5 empty] | COUNTER RELAY | [5 empty] | rdl:RDS5782760 |  | A <COUNTER RELAY> is an <ELECTRICAL RELAY> that is controlled by a counter. | [5 empty] | dm:ClassOfInanimatePhysicalObject
ELECTRICAL RELAY | [5 empty] | DIRECT CURRENT RELAY | [5 empty] | rdl:RDS957059 |  | A <DIRECT CURRENT RELAY> is an <ELECTRICAL RELAY> designed for operation from a direct current source. | [5 empty] | dm:ClassOfInanimatePhysicalObject
DIRECT CURRENT RELAY | [6 empty] | NON-POLARIZED RELAY | [5 empty] | rdl:RDS957014 |  | A <NON-POLARIZED RELAY> is a <DIRECT CURRENT RELAY>, the change of condition of which does not depend upon the polarity of its input energizing quantity(ies). | [5 empty] | dm:ClassOfInanimatePhysicalObject
DIRECT CURRENT RELAY | [6 empty] | POLARIZED RELAY | [5 empty] | rdl:RDS956969 |  | A <POLARIZED RELAY> is a <DIRECT CURRENT RELAY>, the change of condition of which depends upon the polarity of its input energizing quantity(ies). | [5 empty] | dm:ClassOfInanimatePhysicalObject
ELECTRICAL RELAY | [5 empty] | ELECTROMECHANICAL RELAY | [5 empty] | rdl:RDS956699 |  | An <ELECTROMECHANICAL RELAY> is an <ELECTRICAL RELAY> in which the designed response is developed by the relative movement of mechanical elements under the action of a current in the input circuit. | [5 empty] | dm:ClassOfInanimatePhysicalObject
ELECTRICAL RELAY | [5 empty] | MEASURING RELAY | [5 empty] | rdl:RDS956474 |  | A <MEASURING RELAY> is an <ELECTRICAL RELAY> intended to operate when its characteristic quantity, under specified accuracy, attains its operate value. | [5 empty] | dm:ClassOfInanimatePhysicalObject
MEASURING RELAY | SPECIFIED-TIME RELAY | [5 empty] | DEPENDENT-TIME MEASURING RELAY | [5 empty] | rdl:RDS956609 |  | A <DEPENDENT-TIME MEASURING RELAY> is a <MEASURING RELAY> and a <SPECIFIED-TIME RELAY> for which times depend, in a specified manner, on the value of the characteristic quantity. | [5 empty] | dm:ClassOfInanimatePhysicalObject
DEPENDENT-TIME MEASURING RELAY | [7 empty] | THERMAL ELECTRICAL RELAY | [5 empty] | rdl:RDS957239 |  | A <THERMAL ELECTRICAL RELAY> is a <DEPENDENT-TIME MEASURING RELAY> that is intended to protect an equipment from electrical thermal damage by the measurement of the current flowing in the protected equipment and by a characteristic curve stimulating its thermal behaviour. | [5 empty] | dm:ClassOfInanimatePhysicalObject
MEASURING RELAY | SPECIFIED-TIME RELAY | [5 empty] | INDEPENDENT-TIME MEASURING RELAY | [5 empty] | rdl:RDS956654 |  | An <INDEPENDENT-TIME MEASURING RELAY> is a <MEASURING RELAY> and a <SPECIFIED-TIME RELAY> that is also a measuring relay the specified time of which can be considered as being independent, within specified limits, of the value of the characteristic quantity. | [5 empty] | dm:ClassOfInanimatePhysicalObject
MEASURING RELAY | [6 empty] | PROTECTION RELAY | [5 empty] | rdl:RDS875204 |  | A <PROTECTION RELAY> is a <MEASURING RELAY> that, either solely or in combination with other relays, is a constituent of a protection equipment. | [5 empty] | dm:ClassOfInanimatePhysicalObject
PROTECTION RELAY | [7 empty] | NON-PROGRAMMABLE PROTECTION RELAY | [5 empty] | rdl:RDS875519 |  | A <NON-PROGRAMMABLE PROTECTION RELAY> is a <PROTECTION RELAY> that is not programmable and is designed to inherently perform a certain protection function. | [5 empty] | dm:ClassOfInanimatePhysicalObject
NON-PROGRAMMABLE PROTECTION RELAY | [8 empty] | BUCHHOLZ RELAY | [5 empty] | rdl:RDS877319 |  | A <BUCHHOLZ RELAY> is a <NON-PROGRAMMABLE PROTECTION RELAY> that detects gassing of transformer coolant. | [5 empty] | dm:ClassOfInanimatePhysicalObject
PROTECTION RELAY | [7 empty] | PROGRAMMABLE PROTECTION RELAY | [5 empty] | rdl:RDS875474 |  | A <PROGRAMMABLE PROTECTION RELAY> is a <PROTECTION RELAY> that may be electronically programmed to perform any number of protection algorithms. | [5 empty] | dm:ClassOfInanimatePhysicalObject
ELECTRICAL RELAY | [5 empty] | MONOSTABLE RELAY | [5 empty] | rdl:RDS956879 |  | A <MONOSTABLE RELAY> is an <ELECTRICAL RELAY> that, having responded to an input energizing quantity (or characteristic quantity) and having changed its condition, returns to its previous condition when the quantity is removed. | [5 empty] | dm:ClassOfInanimatePhysicalObject
ELECTRICAL RELAY | [5 empty] | NON-SPECIFIED-TIME RELAY | [5 empty] | rdl:RDS956564 |  | A <NON-SPECIFIED-TIME RELAY> is an <ELECTRICAL RELAY> for which the times are not subject to any accuracy specification. | [5 empty] | dm:ClassOfInanimatePhysicalObject
ELECTRICAL RELAY | [5 empty] | PRIMARY RELAY | [5 empty] | rdl:RDS957104 |  | A <PRIMARY RELAY> is an <ELECTRICAL RELAY> that is directly energized by the current or voltage in a main circuit, without an intermediate instrument transformer or shunt or transducer. | [5 empty] | dm:ClassOfInanimatePhysicalObject
ELECTRICAL RELAY | [5 empty] | SECONDARY RELAY | [5 empty] | rdl:RDS957149 |  | A <SECONDARY RELAY> is an <ELECTRICAL RELAY> that is energized by the current or voltage derived from an instrument transformer or a transducer | [5 empty] | dm:ClassOfInanimatePhysicalObject
ELECTRICAL RELAY | [5 empty] | SPECIFIED-TIME RELAY | [5 empty] | rdl:RDS956519 |  | A <SPECIFIED-TIME RELAY> is an <ELECTRICAL RELAY> such that one or more of the times which characterize it (e.g. operate time) are subject to specified requirements, in particular concerning accuracy. | [5 empty] | dm:ClassOfInanimatePhysicalObject
ELECTRICAL RELAY | [5 empty] | STATIC RELAY | [5 empty] | rdl:RDS956744 |  | A <STATIC RELAY> is an <ELECTRICAL RELAY> in which the designed response is developed by electronic, magnetic, optical or other components without mechanical motion. | [5 empty] | dm:ClassOfInanimatePhysicalObject
STATIC RELAY | [6 empty] | STATIC RELAY WITH OUTPUT CONTACT | [5 empty] | rdl:RDS956789 |  | A <STATIC RELAY WITH OUTPUT CONTACT> is a <STATIC RELAY> having a contact in one or more of its output circuits. | [5 empty] | dm:ClassOfInanimatePhysicalObject
STATIC RELAY | [6 empty] | STATIC RELAY WITHOUT OUTPUT CONTACT | [5 empty] | rdl:RDS956834 |  | A <STATIC RELAY WITHOUT OUTPUT CONTACT> is a <STATIC RELAY> having no contact in its output circuits. | [5 empty] | dm:ClassOfInanimatePhysicalObject
INSTRUMENTATION ITEM | PNEUMATIC APPARATUS | RELAY |  |  | PNEUMATIC RELAY | [5 empty] | rdl:RDS5780264 |  | A <PNEUMATIC RELAY> is an <INSTRUMENTATION ITEM> and a <RELAY> and a <PNEUMATIC APPARATUS> that is pneumatically operated and which changes status or breaks another pneumatic circuit | [5 empty] | dm:ClassOfInanimatePhysicalObject
PNEUMATIC RELAY | [5 empty] | LOCK-UP RELAY | [5 empty] | rdl:RDS2221846 |  | A <LOCK-UP RELAY> is a <PNEUMATIC RELAY> that is used when it is required that the air pressure to the actuator be automatically held on the same level, unchanged from the pressure prior to a pressure change in the air source. When supply pressure drops down past a preset value, the device automatically locks the air piping to the control valve, and causes the control valve to hold its position until the air failure is rectified | [5 empty] | dm:ClassOfInanimatePhysicalObject
PNEUMATIC RELAY | [5 empty] | PNEUMATIC BOOSTER RELAY | [5 empty] | rdl:RDS2221836 |  | A <PNEUMATIC BOOSTER RELAY> is a <PNEUMATIC RELAY> that amplifies the input pressure in a given ratio, thereby increasing the available volume capacity of the output signal | [5 empty] | dm:ClassOfInanimatePhysicalObject
ELECTRICAL APPARATUS | RELAY |  |  |  | START RELAY | [5 empty] | rdl:RDS5779320 |  | A <START RELAY> is an <ELECTRICAL APPARATUS> and a <RELAY> that is used in a control circuit with a contactor for starting an electrical machine | [5 empty] | dm:ClassOfInanimatePhysicalObject
ELECTRICAL APPARATUS | RELAY |  |  |  | VOLTAGE RELAY | [5 empty] | rdl:RDS5778747 |  | A <VOLTAGE RELAY> is an <ELECTRICAL APPARATUS> and a <RELAY> that is designed for voltage | [5 empty] | dm:ClassOfInanimatePhysicalObject
ARTEFACT | SWITCHING DEVICE |  |  | REVERSING SWITCH | [5 empty] | rdl:RDS966644 |  | A <REVERSING SWITCH> is an <ARTEFACT> and a <SWITCHING DEVICE> for changing the direction of a current in part of an electric circuit | [5 empty] | dm:ClassOfInanimatePhysicalObject
ARTEFACT | SWITCHING DEVICE |  |  | SELECTOR SWITCH | [5 empty] | rdl:RDS2224500 |  | A <SELECTOR SWITCH> is an <ARTEFACT> and a <SWITCHING DEVICE> that has more then two possible positoning states | [5 empty] | dm:ClassOfInanimatePhysicalObject
ARTEFACT | SWITCHING DEVICE |  |  | SEMICONDUCTOR SWITCHING DEVICE | [5 empty] | rdl:RDS934424 |  | A <SEMICONDUCTOR SWITCHING DEVICE> is an <ARTEFACT> and a <SWITCHING DEVICE> designed to make the current in an electric circuit by means of the controlled conductivity of a semiconductor | [5 empty] | dm:ClassOfInanimatePhysicalObject
SEMICONDUCTOR SWITCHING DEVICE |  |  |  |  | ELECTRONIC AC POWER SWITCH | [5 empty] | rdl:RDS953054 |  | An <ELECTRONIC AC POWER SWITCH> is a <SEMICONDUCTOR SWITCHING DEVICE> capable of switching alternating current. | [5 empty] | dm:ClassOfInanimatePhysicalObject
SEMICONDUCTOR SWITCHING DEVICE |  |  |  |  | ELECTRONIC DC POWER SWITCH | [5 empty] | rdl:RDS953099 |  | An <ELECTRONIC DC POWER SWITCH> is a <SEMICONDUCTOR SWITCHING DEVICE> capable of switching direct current. | [5 empty] | dm:ClassOfInanimatePhysicalObject
INSTRUMENTATION ITEM | STANDARD SIGNAL RECEIVER | SWITCHING DEVICE |  | SIGNAL SWITCH | [5 empty] | rdl:RDS222463 |  | A <SIGNAL SWITCH> is a <INSTRUMENTATION ITEM> and a <STANDARD SIGNAL RECEIVER> and a <SWITCHING DEVICE> that operates when an input standard signal reaches a preset criterium | [5 empty] | dm:ClassOfInanimatePhysicalObject
ARTEFACT | SWITCHING DEVICE |  |  | SWITCH ASSEMBLY | [5 empty] | rdl:RDS13610345 |  | A <SWITCH ASSEMBLY> is an <ARTEFACT> and a <SWITCHING DEVICE> that is an assembly of a <SWITCH> and supporting components | [5 empty] | dm:ClassOfInanimatePhysicalObject
ARTEFACT | SWITCHING DEVICE |  |  | SWITCH-DISCONNECTOR | [5 empty] | rdl:RDS934784 |  | A <SWITCH-DISCONNECTOR> is an <ARTEFACT> and a <SWITCHING DEVICE> that, in the open position, satisfies the isolating requirements specified for a disconnector | [5 empty] | dm:ClassOfInanimatePhysicalObject
SWITCH-DISCONNECTOR |  |  |  |  | AIR SWITCH | [5 empty] | rdl:RDS6568505 |  | An <AIR SWITCH> is a <SWITCH-DISCONNECTOR> in which the contacts are in air. | [5 empty] | dm:ClassOfInanimatePhysicalObject
SWITCH-DISCONNECTOR |  |  |  |  | FUSE-SWITCH-DISCONNECTOR | [5 empty] | rdl:RDS935099 |  | A <FUSE-SWITCH-DISCONNECTOR> is a <SWITCH-DISCONNECTOR> in which a fuse-link or a fuse-carrier with fuse-link forms the moving contact. | [5 empty] | dm:ClassOfInanimatePhysicalObject
SWITCH-DISCONNECTOR |  |  |  |  | SF6 SWITCH | [5 empty] | rdl:RDS877004 |  | An <SF6 SWITCH> is a <SWITCH-DISCONNECTOR> in which the contacts are in a SF6 gas chamber. | [5 empty] | dm:ClassOfInanimatePhysicalObject
SWITCH-DISCONNECTOR |  |  |  |  | SWITCH-DISCONNECTOR-FUSE | [5 empty] | rdl:RDS934964 |  | A <SWITCH-DISCONNECTOR-FUSE> is a <SWITCH-DISCONNECTOR> in which one or more poles have a fuse in series in a composite unit. | [5 empty] | dm:ClassOfInanimatePhysicalObject
SWITCH-DISCONNECTOR |  |  |  |  | VACUUM SWITCH | [5 empty] | rdl:RDS877049 |  | A <VACUUM SWITCH> is a <SWITCH-DISCONNECTOR> in which the contacts are in a vacuum chamber. | [5 empty] | dm:ClassOfInanimatePhysicalObject
FUSE | SWITCHING DEVICE |  |  | SWITCH-FUSE | [5 empty] | rdl:RDS934874 |  | A <SWITCH-FUSE> is a <SWITCHING DEVICE> and a <FUSE> in which one or more poles have a fuse in series in a composite unit | [5 empty] | dm:ClassOfInanimatePhysicalObject
ARTEFACT | SWITCHING DEVICE |  |  | SWITCHBOARD | [5 empty] | rdl:RDS464129 |  | A <SWITCHBOARD> is an <ARTEFACT> and a <SWITCHING DEVICE>that is one or more panels accommodating control switches, indicators, and other apparatus for operating electric circuits | [5 empty] | dm:ClassOfInanimatePhysicalObject
SWITCHBOARD |  |  |  |  | AUXILIARY SWITCHBOARD | [5 empty] | rdl:RDS1006154 |  | An <AUXILIARY SWITCHBOARD> is a <SWITCHBOARD> (or a cubicle) on which are fixed the devices necessary to control, to protect and to distribute auxiliary a.c. and d.c. supplies within a substation. | [5 empty] | dm:ClassOfInanimatePhysicalObject
SWITCHBOARD |  |  |  |  | EMERGENCY SWITCHBOARD | [5 empty] | rdl:RDS5771680 |  | An <EMERGENCY SWITCHBOARD> is a <SWITCHBOARD> that has the function to be used in emergency. | [5 empty] | dm:ClassOfInanimatePhysicalObject
SWITCHBOARD |  |  |  |  | MAIN SWITCHBOARD | [5 empty] | rdl:RDS5771725 |  | An <MAIN SWITCHBOARD> is a <SWITCHBOARD> intended to be used as a main switchboard. | [5 empty] | dm:ClassOfInanimatePhysicalObject
SWITCHBOARD |  |  |  |  | SUB SWITCHBOARD | [5 empty] | rdl:RDS5771770 |  | A <SUB SWITCHBOARD> is a <SWITCHBOARD> intended to be used as a sub switchboard. | [5 empty] | dm:ClassOfInanimatePhysicalObject
COMMUNICATIONS DEVICE | SWITCHBOARD |  |  |  | TELEPHONE SWITCHBOARD | [5 empty] | rdl:RDS5762605 |  | A <TELEPHONE SWITCHBOARD> is a <SWITCHBOARD> and a <COMMUNICATIONS DEVICE> intended to connect and direct traffic between internal and externat telephone lines | [5 empty] | dm:ClassOfInanimatePhysicalObject
ELECTRICAL APPARATUS | SWITCHING DEVICE |  |  | TRIP-FREE MECHANICAL SWITCHING DEVICE | [5 empty] | rdl:RDS935774 |  | A <TRIP-FREE MECHANICAL SWITCHING DEVICE> is an <ELECTRICAL APPARATUS> and a <SWITCHING DEVICE>, the moving contacts of which return to and remain in the open position when the opening operation is initiated after the initiation of the closing operation, even if the closing command is maintained | [5 empty] | dm:ClassOfInanimatePhysicalObject